SCOPE OF WORK

72 Pine St. Unit 15

Project Description: Convert office space into Pilates studio, including taking down approximately 60 lineal feet of existing walls, replacing the carpet with wood flooring and new carpet, and replacing the acoustic ceiling grid and tiles.

Remove from job

Ceiling grid in front 2 rooms, ceiling tile throughout

Approximately 60 lineal feet of wall (framing and drywall)

All baseboard (to allow flooring install)

Power and data lines and devices to cubicle area

Carpet & Tile

Lighting

Framing

Reinforce existing non-structural framing for installation of  studio equipment

Drywall/Plaster

Repair existing drywall as needed

Interior Trim

Install new 1x6 pine baseboard throughout

HVAC

Re-locate heating and cooling ducts from exposed ceiling area  [new location TBD]

Tile/Glass

Install approximately 50 square feet of tile floor at entry vestibule [Tile, layout TBD]

Plumbing

New supply line to water fountain

Electrical

Change overhead lighting in ceiling tile system [TBD]

Install hanging fixtures at exposed concrete ceiling [TBD]

Perform minor alterations/repairs to outlets, data and switching

Remove or move data interface in kitchen

Move wiring from ceiling area at exposed concrete ceiling

Painting

Paint all walls, trim and doors

Dressing room to include multiple wall colors/designs

Flooring

Grind concrete to prepare for new adhesive

Pour self-leveling floor compound to correct out-of-level conditions

Install new glued-down engineered wood flooring [TBD]

Install new carpet in two remaining rear rooms [TBD]

Suspended ceiling

Repair ceiling grid system at removed walls

Install new tiles  [TBD]

Install soffit for transition to exposed concrete ceiling on Pine St. side [location, dimension and shape of transition TBD]

Sprinkler System

Relocate approximately 6 heads