May 29, 2012

Dear John,

As a follow up to our phone conversation last week, I am proposing the following repair

schedule:

Exits Obstructed -			The third floor rear hallway was cluttered with items from one of

my tenants.  They have moved out and removed all of their items.

I have rented to a single lady that will not need to store items there.

The hallway is now clear.

The second floor hallway has tenant items and some of my small

construction materials and equipment stored there.  I have asked

the tenants to remove their items and am moving my things to the

basement.  This hallway will have full access within 7 days.

CO / Fire alarms -			All of the units, except one have hardwired smoke detectors.  I work with

Keeley Electric and they will be in the building to switch out the

old alarms and install new CO by 6/15/12.

Smoke detector -			Install a new hard wired smoke/CO detector in the remaining unit.

This will be completed by 6/15/12 by Keeley with the other work.

Fire Doors - 				Two steel fire doors will be installed for the 3rd floor units.  The work

will be competed by 8/1/12

Two steel fire doors will be installed for the 2nd floor units. The work will

be completed by 3/1/13.

Hole in Wall -			The hole in the wall by the rear stairwell will be repaired by 6/15/12.

Please explain in more detail what is meant by "Fire barrier requires maintenance" and "Interior finish"

for apartment occupancies.  If you let me know specific items that need to be addressed, I will be more

than happy to address these areas and give you a schedule for completion.

Thank you for your assistance.

Sincerely,

John Weir

W - 2 Realty Trust

184 Clark Street, Portland, Maine  04101

207-749-7337