From: 	"David Cimino" <David@stroudwaterconstruction.com>
To:	<jmb@portlandmaine.gov>, <dmcpherson@portlandmaine.gov>, <pboure@waynflete.org>, <abockman@waynflete.org>, "David Cimino" <David@stroudwaterconstruction.com>
Date: 	4/30/2013 11:02 AM
Subject: 	Building permit #2013-00505 305 Danforth Street

Hi Don, After our meeting concerning the change to a concrete pad at grade
to support deck stairs for the Waynflete School / single family home at 305
Danforth, I meet with Jeanie Bourke very briefly at City Hall. She indicated
that a permit addendum or change was not required. As discussed we plan on
install 2" of rigid foam 12" below grade and then pouring a 12"d x 10w"
footing, the top of which will be flush with grade, to support the stairs.
Thank you. David 

David A. Cimino

Stroudwater Construction Co. Inc.

96 Ocean St Unit 1

South Portland, Maine 04106

M‑ 207‑650‑7802

P‑  207‑767‑9111

F‑  207‑767‑9110

David@StroudwaterConstruction.com

www.stroudwaterconstruction.com

Stroudwater logo2007