CITY OF PORTLAND

DEPARTMENT OF PLANNING & URBAN DEVELOPMENT

389 Congress Street

Portland, Maine 04101

Inspection Violations

|  |  |  |  |
| --- | --- | --- | --- |
| **Owner/Manager**  SEA OTTER 16G LIMITED | | **Inspector**  Chuck Fagone | **Inspection Date**  4/16/2015 |
| **Location**  16 GILMAN ST | **CBL**  064 E019001 | **Status**  Failed | **Inspection Type**  Complaint-Inspection |

**Code Int/Ext Floor**

**Unit No.**

**Area**

**Compliance Date**

1) 6-113.(e) Interior Rear Entry

**Violation:**

**Notes: Comments:**

**MAINTENANCE OF LIGHTING FIXTURES**

Maintenance of lighting fixtures. All fixtures required by this article and all fixtures installed in addition thereto shall be maintained in good and safe working conditions and shall be installed in accordance with the electrical code of the city.

Per inspection, open wires and lights not installed in the rear stairwell. Please call once the violations are corrected so they can be confirmed and closed out.

Maintenance of