Memorandum

To: File

From: Don McPherson, CEO

Date: 4-4-2012

Subject: Housing Inspection: 50 Payson St

W/BKL & John Martel Bldg, Elect, & Fire fail Provide:

Throughout:

Continuous handrails.

Unit numbers on doors.

Patch holes in stair walls. Basement:

Sprinkler at boilers.

1st floor:

Light fixture in front entry.

Remove grill from rear deck.

SD/CO.

Fire doors.

Covers/boxes on exposed wiring.

2nd floor:

Remove trash on deck.

SD/CO.

Fire doors.

3rd Floor:

SD/CO.

Fire doors.

Electrical cover plates on outlet and plug strip.

Drapes and other combustibles to be 3" minimum from elect heat

Fire OK with TCO if plan of action is approved