From: 	John Martell
To:	Donald McPherson
CC:	Brian Laflamme
Date: 	10/2/2012 8:39 AM
Subject: 	31-33 Payson

Don,
I reinspected 31-33 Payson st. yesterday and the last four open violation have been corrected. Also the light fixture on the second floor in the back hallway room that Brian had concerns with has been corrected. I believe that should take care of things and the CO can be issued. Jeff Davis will be contacting your office today about that.
John

John Martell
Portland Fire Department
Fire Prevention Bureau
874-8400