## Memorandum

Department of Planning and Development

Planning Division

TO:		Inspections Department

FROM:	Philip DiPierro, Development Review Coordinator

DATE:	February 6, 2013

RE:		C. of O. for # 18 Luther Street, Lot #15 VOA Single Family Home

(Id # 2012-08-4668-SF) (CBL 087 Z 015001)

After visiting the site, I have the following comments:

Site work incomplete:

- Finish grading, loaming and seeding of the lawn areas,

- Rain Garden Construction including landscaping and plant installations,

- Installation of stone drip edge around foundation,

- Installation of 2 street trees,

- Confirmation that the subdivision’s 2 westernmost property pins have been installed,

- Submission of “As-Built” plans,

- Miscellaneous minor site work.

I anticipate this work can be completed by June 1, 2013.

At this time, I recommend issuing a temporary Certificate of Occupancy.

Cc:	Tammy Munson, Inspection Services Manager

Barbara Barhydt, Development Review Services Manager