Mr. Wendell Fletcher								July 1, 2005

48 Revere Street

Portland, ME 04103

Dear Mr. Fletcher:

RE:	Application for Minor Site Plan, 425 Forest Avenue

(ID #2005-0126)	(CBL 111A010)

On July 1, 2005, the Portland Planning Authority approved the parking lot improvements at 425 Forest Avenue as shown on the approved plan with the following conditions:

- A Catch basin with a granite curb inlet shall be installed in Deerfield Road, downstream of the entrance, in accordance with the Public Works standards.

- The dumpster pad and enclosure shall be relocated as requested in your June 14th letter.

The approval is based on the submitted site plan.  If you need to make any modifications to the approved site plan, you must submit a revised site plan for staff review and approval.

Please note the following provisions and requirements for all site plan approvals:

1.	Where submission drawings are available in electronic form, the applicant shall submit any available electronic Autocad files (*.dwg), release 14 or greater, with seven (7) sets of the final plans.

2.	A performance guarantee covering the site improvements as well as an inspection fee payment of 2.0% of the guarantee amount and 7 final sets of plans must be submitted to and approved by the Planning Division and Public Works prior to the release of the building permit.  If you need to make any modifications to the approved site plan, you must submit a revised site plan for staff review and approval.

3.	The site plan approval will be deemed to have expired unless work in the development has commenced within one (1) year of the approval or within a time period agreed upon in writing by the City and the applicant.  Requests to extend approvals must be received before the expiration date.

4.	A defect guarantee, consisting of 10% of the performance guarantee, must be posted before the performance guarantee will be released.

5.	Prior to construction, a pre-construction meeting shall be held at the project site with the contractor, development review coordinator, Public Work's representative and owner to review the construction schedule and critical aspects of the site work.  At that time, the site/building contractor shall provide three (3) copies of a detailed construction schedule to the attending City representatives.  It shall be the contractor's responsibility to arrange a mutually agreeable time for the pre-construction meeting.

6.	If work will occur within the public right-of-way such as utilities, curb, sidewalk and driveway construction, a street opening permit(s) is required for your site.  Please contact Carol Merritt at 874-8300, ext. 8828.  (Only excavators licensed by the City of Portland are eligible.)

The Development Review Coordinator must be notified five (5) working days prior to date required for final site inspection.  The Development Review Coordinator can be reached at the Planning Division at 874-8632.  Please make allowances for completion of site plan requirements determined to be incomplete or defective during the inspection.  This is essential as all site plan requirements must be completed and approved by the Development Review Coordinator prior to issuance of a Certificate of Occupancy.  Please schedule any property closing with these requirements in mind.

If there are any questions, please contact Jay Reynolds at 874-8632.

Sincerely,

Alexander Jaegerman

Planning Division Director

cc: 	Lee D. Urban, Planning and Development Department Director

Alexander Jaegerman, Planning Division Director

Sarah Hopkins, Development Review Services Manager

Jay Reynolds, Development Review Coordinator

Marge Schmuckal, Zoning Administrator

Inspections

Michael Bobinsky, Public Works Director

Traffic Division

Eric Labelle, City Engineer

Jeff Tarling, City Arborist

Penny Littell, Associate Corporation Counsel

Fire Prevention

Assessor's Office

Approval Letter File