## Memorandum

Department of Planning and Development

Planning Division

TO:		Inspections Department

FROM:	Philip DiPierro, Development Review Coordinator

DATE:	July 10, 2012

RE:		C. of O. for # 285 Forest Avenue, c-Port Credit Union

(Id#2011-287) (CBL 112 H 001001)

After visiting the site, I have the following comments:

Site work incomplete:

- Completion of the sidewalk along Forest Avenue.

- Installation of the sidewalk & crosswalk near east end of the site.

- Installation of miscellaneous way-finding signs.

- Striping the access road.

- Miscellaneous minor site work.

I anticipate this work can be completed by August 10, 2012.

At this time, I recommend issuing a temporary Certificate of Occupancy.

Cc:	Tammy Munson, Inspection Services Manager

Barbara Barhydt, Development Review Services Manager

File:  1 Solution