Inspection Services                                       		Department of Urban Development

Michael J. Nugent			                                                  Joseph E. Gray, Jr.

Manager                                                                                                                                Director

CITY OF PORTLAND

Michael Kaplan										October 26, 1999

Kaplan 47 LLC

49 Ocean Avenue

Portland, Maine 04103-5722

RE:  371-373 Forest Avenue

CBL:  112-B-017

Dear Mr. Kaplan,

Thank you for meeting with me at the above referenced address to discuss the electrical violations, which had been brought to your attention at a prior meeting held on June 17, 1999.

These violations have not been corrected as agreed to in your letter dated June 17, 1999, which was faxed and received by me on June 18, 1999.

At this time you have exactly 30 days from the receipt of this letter to install a new service to the building and bring it into compliance as we discussed with you on October 19, 1999.  The existing service is unsafe, which presents a clear and present danger to the building and its occupants, shall be changed.  Failure to comply shall result in the disconnection of electric service to the building, until compliance is met.

Please contact this office if you have any questions or concerns.

Sincerely,

Michael A. Collins

Chief Electrical Inspector

City of Portland

Cc:  Mike Nugent, ISM

Lt. McDougall, PFD

Sam Hoffses, CBI

Ken Clark, AMC Electric