CITY OF PORTLAND

DEPARTMENT OF PLANNING & URBAN DEVELOPMENT

389 Congress Street

Portland, Maine 04101

Inspection Violations

|  |  |  |
| --- | --- | --- |
| **Owner/Manager**YEAN SOKUNTHY & | **Inspector**Chuck Fagone | **Inspection Date**4/8/2015 |
| **Location**37 FALMOUTH ST | **CBL**116 D029001 | **Status**Failed | **Inspection Type**Complaint-Inspection |

**Code Int/Ext Floor**

**Unit No.**

**Area**

**Compliance Date**

1) 6-116.(e) Interior Bedroom

Fire Protection

**Violation:**

**FIRE PROTECTION**

Every dwelling, dwelling unit, rooming house and rooming unit shall comply with the applicable provisions of the most current edition of the National Fire Protection Association Life Safety Code, and with all other applicable state statutes and regulations.

* *The water heaters in the basement will need sprinkler head protection.*
* *The smoke detector was missing in the third floor unit rear bedroom*

**Comments:**

Per inspection, water heater will need protection and rear bedroom on the third floor was missing the smoke detector (removed).

Fire Inspections