CITY OF PORTLAND

DEPARTMENT OF PLANNING & URBAN DEVELOPMENT

389 Congress Street

Portland, Maine 04101

Inspection Violations

|  |  |  |
| --- | --- | --- |
| **Owner/Manager**Hawkins Kathleen M | **Inspector**Chuck Fagone | **Inspection Date**4/30/2015 |
| **Location**190 COYLE ST | **CBL**124 G021001 | **Status**Failed | **Inspection Type**Building-Inspection |

**Code Int/Ext Floor**

**Unit No.**

**Area**

**Compliance Date**

1) 6-34. (b) Interior Hallway

**Violation: Notes:**No plate cover for the electrical box.

Per inspection, electrical box in the second floor hallway was not covered with a plate, but in place was a piece of wood taped over the opening causing an electrical hazard. Given the amount of time and inspections on this property, a $150 re-inspection fee is being assessed.

no grounding el