514 Deering Avenue

* All units will need a hard wired photo electric/battery back-up smoke detector installed in each bedroom.
* All units will need a hard wired photo electric/battery back-up combination smoke/carbon monoxide detector installed in the common area (living room or foyer) of each unit.
* Missing smoke detectors in the common hallways and stairwells will need to be replaced.
* Washer/dryer in the common area on the first floor will need to be removed or enclosed.
* All hallways will need to be cleared of storage and/or recycle material
* Basement will need to be cleaned of debris and any trash