19 September 2005

Ms. Jill Keefe,

Four Sills, LLC,

39 Willow Street,

Peaks Island, Maine 04108.

RE:   The Capacity to Handle an Anticipated Increase in Wastewater Flows,

from a Two-Unit Modular Building, at 11 Bryant Street, Portland, Maine.

Dear Ms. Keefe:

The existing eight inch diameter, vitrified clay, sanitary sewer pipe, located in Bryant Street has adequate capacity to transport, while The Portland Water District sewage treatment facilities, located off Marginal Way, have adequate capacity to treat the anticipated wastewater flows of 540 GPD, from your proposed two-unit residential building.

Anticipated Wastewater Flows from the Proposed Duplex:

2 Proposed Three Bedroom Units @ 270 GPD/Unit				= 540 GPD

Total Proposed Increase in Wastewater Flows for this Project		= 540GPD

The City combined sewer overflow (C.S.O.) abatement consent agreement, with the U.S.E.P.A. and the Maine D.E.P., requires C.S.O. abatement, as well as storm water mitigation, in order to offset any increase in sanitary flows, from all projects.

If The City can be of further assistance, please call 874-8832.

Sincerely,

CITY OF PORTLAND

Frank J Brancely, B.A., and M.A.

Senior Engineering Technician

FJB

cc:	Alexander Q. Jaegerman, Acting Co-Director, Department of Planning, and Urban Development, City of Portland

Kandice Talbot, Planner, Department of Planning, and Urban Development, City of Portland

Eric Labelle, P.E., City Engineer, City of Portland

Bradley A. Roland, P.E., Environmental Projects Engineer, City of Portland

Stephen K. Harris, Assistant Engineer, City of Portland

Jane Ward, Administrative Assistant, City of Portland

Desk file