CITY OF PORTLAND

PLANNING AND URBAN DEVELOPMENT DEPARTMENT

389 Congress Street

Portland, Maine 04101

Inspection Violations

| Owner BK PROPERTIES LLC PO BOX 6149 FALMOUTH, ME 04105 | Code Enforcement Officer Don McPherson | Inspection Date July 6, 2011 |
| --- | --- | --- |
| Location 167 WOODFORD ST | CBL 130 - - F - 013 - 001 - - - - - | Status Open | Case Number 2011-06-1424-HOUSING |

EXTERIOR WINDOWS, DOORS A-City Ord. § 6-108.(c)

Every window or door, including basement or cellar door and hatchway, and skylight shall be substantially weathertight, watertight, and vermin proof and shall be kept in sound working condition and good repair. Every exterior window shall include storm sash with screens or an alternative equally effective for heat retention and ventilation purposes, all in operable condition.

INTERIOR FLOORS, WALLS, C-City Ord. § 6-108.(b)

Every floor, wall, ceiling, and door shall be in a structurally sound condition and in good repair and shall be substantially  vermin proof.

Smoke Detectors-Smoke detectors shall be installed

Hardwired interconnected battery backup smoke detectors shall be installed in all bedrooms, protecting the bedrooms, and on every level.

DISPOSAL OF RUBBISH, ASHE-City Ord. § 6-109.(d)

Separate watertight, tightly covered plastic or metal containers shall be provided, one (1) or more for garbage and other food wastes, one (1) or more for rubbish, paper, and other non food wastes, and one (1) or more metal containers for ashes, and all such containers shall be kept covered at all times so as to prevent the ingress and egress of flies, rats or other animals. Plastic or paper bags or boxes are not considered "containers" for purposes of this section. Ashes shall be cold when placed in containers for collection. Such containers shall be cleaned periodically so that they will not become foul or offensive and shall be placed in convenient locations for removal of the contents by persons authorized to collect the same. Every occupant of a dwelling, dwelling unit, rooming house or rooming unit shall place or cause to be placed all garbage, rubbish and other waste material in such containers and shall not permit any accumulation or deposit of such substances in or about the premises except in said containers. The responsibility for the provision of such containers shall be as follows: 1.  It shall be the duty of every occupant of every dwelling occupied by not more than two (2) families to provide and keep within the dwelling or upon the premises where the dwelling is situated sufficient containers to meet the above requirements. 2.  It shall be the duty of the owner or operator of every multiple dwelling to provide and keep within the dwelling or upon the premises where the dwelling is situated sufficient containers to meet the above requirements. 3.  It shall be the duty of every owner or operator of a rooming house to provide and keep within the dwelling or upon the premises where the dwelling is situated sufficient containers to meet the above requirements.

LIGHTING STANDARDS/HABITA-City Ord. § 6-113.(a) & (e)

(a) Minimum lighting standards/Habitable rooms.  Every habitable room, other than rooms used primarily for sleeping, shall contain at least two (2) separate duplex convenience outlets or at least one (1) duplex convenience outlet and one (1) ceiling-type or wall-type electric light fixture.

(e) Maintenance of lighting fixtures. All fixtures required by this article and all fixtures installed in addition thereto shall be maintained in good and safe working conditions and shall be installed in accordance with the electrical code of the city.

RODENT AND VERMIN CONTROL-City Ord. § 6-109.(e)

Every dwelling, dwelling unit, rooming house, rooming unit, and dwelling premises shall be kept and maintained free from insects, rodents, or other pests in accordance with the following division of responsibility. (a.)Every occupant of a dwelling unit shall be responsible for the extermination of such insects, rodents, or other pests where the infestation is confined to such dwelling unit, except as provided in subsection 6- 109(5)b. (b.)When infestation of a dwelling unit shall exist because of the failure of the owner or operator of a dwelling or dwelling premises to keep the same in a substantially rodent or vermin-proof condition, extermination shall the responsibility of the owner or operator. (c.)Every owner or operator of a dwelling shall be responsible for the extermination of such insects, rodents, or other pests whenever infestation exists in any two (2) or more dwelling and/or rooming units, or in shared areas or upon the dwelling premises. (d.)Every owner or operator of a rooming house shall be responsible for the extermination of any insects, rodents, or other pests in the dwelling or upon the dwelling premises.