Gebhardt Property Management
PO BOX 11591
Portland, ME 04104
gpmmaine.com
207-541-9468

----- Original Message -----

From: Gebhardt Management

To: martell@portlandmaine.gov

Sent: Monday, March 04, 2013 3:19 PM

Subject: Repairs 30-32 Brentwood St.

John Martell

Work will be done as follows

add 6- smokes and 4 combo smoke/carbon -This will be done by   3/8 /2013

Replace 6- doors with 90 min. fire doors- This will be done by 3/29/2013

Sprinkler head over gas hot water heaters - This will be done by 3/29/2013

Self closing hinges on 6- doors front hall and door swipes- This will be done by 3/29/2013

Lable panels- This will be done by  3/29/2013

Rick Gebhardt

Gebhardt Property Management
PO BOX 11591
Portland, ME 04104
gpmmaine.com
207-541-9468