Inspection Services                                       		  Department of Urban Development

Michael J. Nugent			                                                  	 Joseph E. Gray, Jr.

Manager                                                                                                                                Director

CITY OF PORTLAND

November 30, 1999

Nancy & Wayne Fournier

306 Bridgeton Road

Westbrook, ME  04092

RE:	34 Brentwood Street

CBL:	133-H-010

Dear Mr. & Mrs. Fournier;

On 11/24/99 I met your representative Steve Davis at 34 Brentwood St. to determine if you have adequate egress from Apt #3, 2nd floor left.  After consulting Lt. McDougall, Fire Inspector P.F.D. we are willing to allow the continued use of 34 Brentwood St. as a four-unit apartment building, with several conditions.

- Electric with battery back up; smoke detectors are installed throughout building.

- Fire doors shall be installed in the front right hallway (3 doors) self-closing 1-hour rating this year.

- A written plan that shows the remaining door replacement over the next four years plan to be submitted to the Portland Fire Department, Lt. McDougall.  You only have to fire rate doors that exit to a common space.

- Install a sprinkler head over Ec. Boiler domestic water feed only.

Sincerely,

Tom Reinsborough				Lt. McDougall

Code Enforcement Officer			Fire Inspector, P.F.D

CC:	File

Lt. McDougall

Tom Reinsborough