CITY OF PORTLAND

DEPARTMENT OF PLANNING & URBAN DEVELOPMENT

389 Congress Street

Portland, Maine 04101

Inspection Violations

| Owner/Manager RODNEY ROBERT J II & | Inspector Chuck Fagone | Inspection Date 4/17/2014 |
| --- | --- | --- |
| Location 121 WALTON ST | CBL 142 D004001 | Status Violations Exist | Inspection Type Complaint-Housing Inspection |

Code	Int/Ext	Floor

Unit No.

Area

Compliance Date

1)   6-108. (c)	Interior	Bedroom

Violation: Notes:

EXTERIOR WINDOWS, DOORS AND SKYLIGHTS

Exterior window

Exterior window

Every window or door, including basement or cellar door and hatchway, and skylight shall be substantially weather tight, watertight, and vermin proof and shall be kept in sound working condition and good repair. Bedroom windows on the third floor need correcting.

Every exterior window shall include storm sash with screens or an alternative equally effective for heat retention and ventilation purposes, all in operable condition.

2)   6-108. (d)	Exterior	Rear Deck

Violation: Notes:

STAIRWAYS, STAIRWELLS, STAIRS AND PORCHES.

Stairways, stair

Stairways, stair

Every inside and outside stairway, stairwell, stairs, and porch and any appurtenances thereto shall be structurally sound, in good repair, and safe to use.  -The rear deck stairs need a railing installed on the left side.

3)   6-109. (a)	Interior	Through Out

Violation: Notes:

MAINTENANCE OF ASSIGNED AREAS

Maintenance of

Maintenance of

Every occupant of a dwelling, dwelling unit, or rooming unit shall maintain in a clean and sanitary manner that part of the swelling, dwelling unit, or rooming unit and dwelling premises which he or she occupies and controls.

4)   6-109.(b)	Interior	Basement/yard

Violation: Notes:

MAINTENANCE OF SHARED AREAS.

Maintenance of

Maintenance of

Every owner or operator of a multiple dwelling or rooming house shall maintain in a clean and sanitary condition the shared or public areas of the dwelling and dwelling premises. –The basement and crawl space under the side porch need to be free or debris.

5)   6-116. (c)	Interior	Stairs/landing to second floor

Violation: Notes:

EGRESS OBSTRUCTIONS

Egress Obstruct

Egress Obstruct

Every hallway, stairway, corridor, exit, fire escape door or other means of egress shall be kept clear of obstructions at all times.

6)   6-116. (e)	Interior	Bedroom

Violation: Notes:

Comments:

FIRE PROTECTION

Fire Protection

Fire Protection

Every dwelling, dwelling unit, rooming house and rooming unit shall comply with the applicable provisions of the most current edition of the National Fire Protection Association Life Safety Code, and with all other applicable state statutes and regulations.