Applicant: RB Allen

App Phone #: 207-657-2457

Building Name: UNE – Goddard Hall                    z

Building Address: 20 College St

Occupancy: College

Assembly OL>300, 20 unit apartment building, etc.

Emergency Contact: UNE Security

Emergency phone #: 207-602-2298

Date of Application: 10/25/11

Billing Address: 716 Stevens Ave

Portland, ME 04103

Comments:

Applicant completes red box and submits with Fire Alarm Permit

Fire Prevention:		 Approved		 Denied

1

10  /  25  /  11  				_____________________________________________

Date						         Fire Prevention Officer

Zone 1: Water flow                                                  Zone 2: City disconnect – Water Flow              .

Zone 3: Pulls and detectors                              .  Zone 4: City disconnect – Pulls and Detectors.

Zone 5: Unassigned                                                Zone 6: Unassigned                                               .

Zone 7: Unassigned                                                Zone 8: AES Tamper switch                                .   .

Modify City Box response to alarm sounding in CAD:     YES          NO   .

2

Fire Alarm:  		Box #:	______

Electrical Division:	 Approved		 Denied

Box Type:	 AES Radio Box /   __________________

New		             Other

3

Test Date: _____/_____/_____     In Service Date: _____/_____/_____     __________________

Fire Alarm Technician

AES

Circuit if applicable:

Fire Alarm:	Same Running Assignment As Box: _____

4

Notifications:	 All Stations	 Run Books	 Digitizer	 Computer	 Cad Box Test

 South Portland	 ___________________________	____________________________________

Other					Dispatcher

5

Billing:	 Entered	____________________________________

Financial Officer