From: 	David Margolis-Pineo

To:	Eric Giles

Date: 	4/14/2009 3:04:28 PM

Subject: 	Fwd: Morrill's Crossing

Eric,

If you need an answer right away, please call me.

The items I listed definitely apply to the City roads.  Three foot sumps on CBs are also required since storm water quality is critical.  Most of these comments are standard construction practices.

However, generally, work on private property does not need to meet city standards.

>>> Eric Giles 04/10 10:52 AM >>>

Hi David,

The GC for this project wanted to know if the construction details related to your comments are for work only in the ROW or do they pertain to the non-public portion of the site?

Thanks,

Eric

CC:	Todd Merkle