# MEMORANDUM

- TO:	Eric Giles

- FROM:	Dan Goyette, PE

- DATE:	March 27, 2009

- RE:	Morrill’s Crossing

Woodard & Curran has reviewed the documents for the Morrill’s Crossing project.  The purpose of the review was to determine the applicant’s compliance with the imposed site plan, subdivision, and contract zoning conditions of approval.

- Documents Reviewed

- Cover letter and original approval information dated March 6, 2009 prepared by VHB Inc.

- Site Plan Sheets, C-1, C-2, C-3.1-3.2, C-4.1-4.2, C-5, C-6.1-6.2, C-7.1-7.2, C-8.1-8.2, C9.1-9.6, C-10, C-11, SV1-2, Sl-1 dated January 9, 2009 by VHB Inc.

Comments:

- It appears from the plans that adequate stormwater management provisions have been applied to the site.

- DRG

- 203848.19.

cc:	File