From: 	"Chris DiMatteo" <cdimatteo@sebagotechnics.com>

To:	"Barbara Barhydt" <BAB@portlandmaine.gov>

Date: 	Wednesday, January 13, 2010 7:32:04 AM

Subject: 	RE: Site Restoration Plan - 978 Washington Ave

Hi Barbara,

Attached is the revised Restoration Plan for 978 Washington Avenue base

on your comments and the agreement between the Shir's and the City.  We

have performed a topographic survey that the existing contours shown on

our plan is based on.  As with the previous plan, the extent of the

gravel parking area to be restored was determined by the City's 2006

aerial ortho-imagery.    To guide the contractor towards restoring the

site as close to the original grades as possible we have  used the

City's 2006 aerial contour information (not shown on the plan) as a

reference for the proposed grading and provided a plan note that directs

the contractor to excavate down to native soils.

Please feel free to contact me or Dan Riley (ext. 226) with any

questions or if you are in need of additional information.

I plan to drop off prints for your review on Monday.  Please let me know

how many you require.

Best regards,

Chris

Christopher  Di Matteo, R.L.A.

Sebago Technics, Inc.

One Chabot Street, P.O.Box 1339

Westbrook, Maine 04098-1339

p: 207-856-0277 Ext: 281 f::  207-856-2206

cdimatteo@sebagotechnics.com

www.sebagotechnics.com

-----Original Message-----

From: Barbara Barhydt [mailto:BAB@portlandmaine.gov]

Sent: Wednesday, January 06, 2010 3:33 PM

To: Chris DiMatteo

Cc: Alex Jaegerman ; Danielle West -Chuhta; Gary Wood; Penny Littell

Subject: RE: Site Restoration Plan - 978 Washington Ave

Hi Chris:

I am sorry, but I have an appointment shortly and will be out of the

office.

The plan that was submitted shows a saw cut pavement joint that is

squared off.  The phone message I received from Danielle is that the

agreement requires all pavement to be removed and the gravel area should

be the semicircle as shown on the aerial.

It is my understanding that the creation of the parking lot included

some filling and graded that has changed the stormwater runoff, so that

it flows toward Fall Brook Street.  We are looking for the restoration

of the site to its previous condition as a flat pervious area and that

the final restoration will mitigate drainage issues.   We look to your

expertise in assuring that the site can be returned to as near as

possible to its orginal condition.

Thanks.

Barbara

Barbara Barhydt

Development Review Services Manager

Planning Division

389 Congress Street  4th Floor

Portland, ME 04101

(207) 874-8699

Fax: (207) 756-8256

bab@portlandmaine.gov

>>> "Chris DiMatteo" <cdimatteo@sebagotechnics.com> Wednesday, January

06, 2010 1:30 PM >>>

Hi Barbara,

Can we schedule a time this afternoon to discuss the conditions?

Dan Riley would like to discuss the drainage ramifications of the

conditions approved.

Chris

Christopher  Di Matteo, R.L.A.

Sebago Technics, Inc.

One Chabot Street, P.O.Box 1339

Westbrook, Maine 04098-1339

p: 207-856-0277 Ext: 281 f::  207-856-2206

cdimatteo@sebagotechnics.com

www.sebagotechnics.com

-----Original Message-----

From: Barbara Barhydt [mailto:BAB@portlandmaine.gov]

Sent: Wednesday, January 06, 2010 12:12 PM

To: Chris DiMatteo

Cc: Alex Jaegerman ; Danielle West -Chuhta; Gary Wood; Penny Littell

Subject: Site Restoration Plan - 978 Washington Ave

Hi Chris:

As we just discussed, I am attaching the agreement for the restoration

of the site at 978 Washington Avenue for your use.  Attachment 1 is

not

attached to the agreement, but I did confirm with Danielle West Chuhta

that the attachment is the aerial photograph that you used for the

site

plan.

City staff reviewed the plan at today's review meeting and it does not

meet the requirements of the agreement.  The plan must be revised to

address the points of the agreement (1 a through e) and the proposed

final grades of the site must be shown on the plan.  Please submit the

revised plan by Friday, January 8, 2010, as the City requires time to

review the plan and the work is to be completed by Janauary 25, 2010.

Thank you.

Barbara

Barbara Barhydt

Development Review Services Manager

Planning Division

389 Congress Street  4th Floor

Portland, ME 04101

(207) 874-8699

Fax: (207) 756-8256

bab@portlandmaine.gov

CC:	"Alex Jaegerman " <AQJ@portlandmaine.gov>, "Danielle West -Chuhta" <DWCHUHTA@portlandmaine.gov>, "Gary Wood" <GARY@portlandmaine.gov>, "Penny Littell " <PL@portlandmaine.gov>, "John B. Shumadine" <jbs@mpmlaw.com>