CITY OF PORTLAND

DEPARTMENT OF PLANNING & URBAN DEVELOPMENT

389 Congress Street

Portland, Maine 04101

Inspection Violations

|  |  |  |  |
| --- | --- | --- | --- |
| **Owner/Manager**  CITY OF PORTLAND | | **Inspector**  Chuck Fagone | **Inspection Date**  12/30/2014 |
| **Location**  54 PARRIS ST | **CBL**  033 A015001 | **Status**  Violations Exist | **Inspection Type**  Complaint-Bldg w/o pmt & structu |

**Code Int/Ext Floor**

**Unit No.**

**Area**

**Compliance Date**

1) 6-109.5. (e)

**Violation: Notes:**

**Comments:**

**CHIMNEYS,-FLUES AND VENT**.

Every chimney shall be structurally sound and in good repair.

Chimneys,-flues

Per inspection, the base of the chimney is missing several bricks and could be structurally compromised.