SECTION  01010		SUMMARY OF THE WORK

PART 1 GENERAL

1.01	RELATED DOCUMENTS

A.	Drawings and General Provisions of Contract, including General and Supplementary Conditions and other Division 1 Sections, apply to Work of this Project and each Specification Section.

1.02	WORK SEQUENCE

A.	The Work will be conducted to provide the least possible interference to the activities of the Owner's personnel and residents occupying the adjacent buildings.

1.03	CONTRACTOR USE OF PREMISES

A.	General: Limit use of the premises to construction activities in areas to be indicated by Owner; allow for Owner continued occupancy of the campus and adjacent buildings and use by the public.

B.	Use of the Site:

1.	Confine operations to areas within Contract limits indicated.

2.	Portions of the site beyond area in which construction operations is indicated are not to be disturbed.

C.	Site Access:

1.	Keep driveways and entrances serving the premises clear and available to the Owner and the Owner's employees at all times.

2.	Do not use these areas for parking or storage of materials.

3.	Schedule deliveries to minimize space and time requirements for storage of materials and equipment on site.

D.	Use of the Existing Building:

1.	Maintain the existing building in a weather tight condition throughout the construction period.

2.	Repair damage caused by construction operations.

3.	Take all precautions necessary to protect the building and its occupants during the construction period.

1.04	OWNER OCCUPANCY

A.	Full Owner Occupancy:

1.	The Owner will occupy the site and the existing adjacent buildings during the entire period of construction.

2.	Cooperate fully with the Owner or Representative during construction operations to minimize conflicts and to facilitate Owner usage.

3.	Perform the Work so as not to interfere with the Owner's operations.

B.	Partial Owner Occupancy:

1.	The Owner reserves the right to place and install equipment as necessary in completed areas of the building and to occupy such completed areas before Substantial Completion, provided that such occupancy does not substantially interfere with completion of the Work.

2.	Such placing of equipment and partial occupancy shall not constitute acceptance of the Work or any part of the Work.

3.	A Certificate of Substantial Completion will be executed for each specific portion of the Work to be occupied before Owner occupancy.

4.	Obtain a Certificate of Occupancy from local building officials before Owner occupancy.

5.	Before partial Owner occupancy, mechanical and electrical systems shall be fully operational.

6.	Required inspections and tests shall have been successfully completed.

7.	Upon occupancy, the Owner will provide operation and maintenance of mechanical and electrical systems in occupied portions of the Building.

1.05	COORDINATION RESPONSIBILITIES

A.	Subcontractor Coordination:

1.	Ensure subcontractors are knowledgeable of all Sections of Division 1, General Requirements, and are responsible for conforming to applicable requirements and instructions.

2.	Assume responsibility for administering Work performed by subcontractors in accordance with Division 1, General Requirements.

B.	Installation Sequencing:

1.	Examine materials and installations performed by others before starting next stage or adjacent Work.

2.	Notify Architect immediately of unsatisfactory conditions which hinder or restrict correct installation of next stage or adjacent Work.

3. 	Start of next stage or adjacent Work will be construed as acceptance of previous or adjacent Work, whether or not conditions are satisfactory.

4.	Any work requiring subsequent removal or replacement due to unsatisfactory or defective Work shall not be at the expense of the Owner.

C.	Contract Document Review:

1.	Before execution of Work, the Contractor shall review all Drawings and Specifications and shall immediately report all errors, discrepancies, and/or omissions discovered to the Architect, in writing, with one set of Contract Documents marked in red pencil, clearly indicating the discrepancies.

2.	Omissions from the Drawings and/or the Specifications or the misdescription of details of Work which are manifestly necessary to carry out the intent of the Drawings and Specifications, or are customarily performed, shall not relieve the Contractor from performing such omitted or misdescribed details of the Work; but shall be performed as if fully and correctly set forth and described in the Drawings and Specifications, using the most appropriate method, with final approval issued by the Architect to alleviate conflicts of scheduling, Drawings, Details, and/or Specifications.

3.	Design Intent:

a.	Purpose of Drawings is to graphically depict characteristics and extent of Project.

b.	Specifications included as part of Project Manual are provided to state material type, function, and source of materials.

c.	Reference standards are used in Specifications to describe, by inference, specific materials and may include recommended methods of installation or application based on industry standards.

1.06	REFERENCE STANDARDS

A.	Compliance: Work shall conform to standards published by recognized professional and industry organizations when referenced in this Project Manual.

B.	Edition Date of Reference Standards:

1.	Code Listing: Any reference to standards of any society, institute, association, or governmental agency which is a part of the building code in effect for this Project shall comply with the edition date published in the referenced edition of the Building Code.

2.	Non-Code Listing: Any reference to standards of any society, institute, association, or governmental agency which is not a part of the Building Code for this Project shall be the edition in effect at time of opening of Bids, except as otherwise specifically stated in this Project Manual.

3.	Project Manual Listing: Edition dates listed with reference standards in each Section of this Project Manual are included for reference only.

C.	If reference standards are revised before completion of any part of the Work to which such revision would pertain, the Contractor may, if acceptable to the Architect and if not in violation of the Building Code, perform such work in accordance with the revised Specifications.

1.07		CODE Analysis:

A.	The design and construction of Project shall conform to codes, laws, regulations and ordinances of any kind required by governmental authority or other regulatory agency having jurisdiction over this Project and specifically:

1. International Building Code, 2003

2. Electrical: National Electrical Code (NFPA 70), 2002

3. Plumbing: Maine State Plumbing Code

4. ADA and Barrier Free Design:  Rules and Regulations 					of “Uniform Federal Accessibility Standards” and ADA 					regulations.

B.	Structure is classified as I-2, Nursing Home, of Type 2B Construction with one hour fire resistant bearing walls, floors and roof structure, fully sprinklered.

1.08		ABBREVIATIONS

A.	Reference to a technical society, institution, association, or governmental agency made in these Specifications is in the form of a standard acronym or abbreviation as published in the Encyclopedia of Associations, published by Gale Research Co., available in most libraries.

B.	Us of abbreviations for technical terms in text of Specifications are restricted to most commonly used terms and comply with U.S. Government Printing Office Style Manual, published by U.S. Government Printing Office (GPO).

1.09		GENERAL DESCRIPTION

A.	The work under the contract consists of a new fully sprinklered 1 story steel framed addition to the existing nursing home, of approximately 1,350 sf with a flat roof and brick veneer, metal stud backup exterior walls.  Renovations of the existing Rehabilitation space are also part of this contract.

END OF SECTION