***** Paragraph Numbered Format ***** ******* Copyright 1988, ARCOM ******* ARCHITECTURAL COMPUTER SERVICES, INC.

SECTION 01030 - ALTERNATES

PART 1 - GENERAL

1.1	RELATED DOCUMENTS

A.	Drawings and general provisions of Contract, including General and Supplementary Conditions and other Division-1 Specification Sections, apply to this Section.

1.2	SUMMARY

A.	This Section specifies administrative and procedural requirements for Alternates.

THE DEFINITION BELOW AMPLIFIES THE ONE IN AIA DOCUMENT A 701, "INSTRUCTIONS TO BIDDERS." IT ASSUMES A NORMAL BIDDING SITUATION WITH ALTERNATE AMOUNTS REQUESTED BY THE OWNER STATED ON THE BID FORM, AND DECISIONS ON ACCEPTING OR REJECTING ALTERNATES MADE BEFORE THE AGREEMENT IS SIGNED. IT ALSO ASSUMES THAT TERMS UNDER WHICH ALTERNATES ARE ACCEPTED OR REJECTED ARE CONTAINED IN THE BIDDING DOCUMENTS.

B.	Definition:  An Alternate is an amount proposed by Bidders and stated on the Bid Form for certain construction activities defined in the Bidding Requirements that may be added to or deducted from Base Bid amount if the Owner decides to accept a corresponding change in either the amount of construction to be completed, or in the products, materials, equipment, systems or installation methods described in Contract Documents.

MAKE CERTAIN THAT IT IS CLEAR ON THE BID FORM THAT COSTS LISTED FOR EACH ALTERNATE INCLUDE COSTS OF RELATED COORDINATION, MODIFICATION OR ADJUSTMENT. IF IT IS NOT REVISE THE NEXT PARAGRAPH BY STATING THIS REQUIREMENT.

C.	Coordination:  Coordinate related Work and modify or adjust adjacent Work as necessary to ensure that Work affected by each accepted Alternate is complete and fully integrated into the project.

RETAIN THE PARAGRAPH BELOW FOR MOST PROJECTS. FAILURE TO REQUIRE NOTIFICATION COULD CREATE PROBLEMS LATER.

D.	Notification:  Immediately following the award of the Contract, prepare and distribute to each party involved, notification of the status of each Alternate.  Indicate whether Alternates have been accepted, rejected or deferred for consideration at a later date.  Include a complete description of negotiated modifications to Alternates.

E.	Schedule:  A "Schedule of Alternates" is included at the end of this Section.  Specification Sections referenced in the Schedule contain requirements for materials and methods necessary to achieve the Work described under each Alternate.

1.	Include as part of each Alternate, miscellaneous devices, accessory objects and similar items incidental to or required for a complete installation whether or not mentioned as part of the Alternate.

PART 2 - PRODUCTS (Not Applicable).

PART 3 - EXECUTION

3.1	SCHEDULE OF ALTERNATES

BELOW ARE SOME EXAMPLES OF ALTERNATES. THEY ARE INCLUDED TO DEMONSTRATE POSSIBLE ALTERNATE TYPES. REVISE SUITABLE TYPES AS NECESSARY TO SUIT PROJECT REQUIREMENTS.

ALTERNATE NO. 1 IS AN EXAMPLE OF A SIMPLE STRAIGHT-FORWARD "ADD" ALTERNATE. THIS TYPE MIGHT NECESSITATE ADDITIONAL SPECIFICATION SECTIONS TO ADEQUATELY DESCRIBE REQUIREMENTS.

A.	Alternate No. 1:  Provide concrete stair, landing, and metal railing and door from interior at existing Connector Corridor, as indicated on the drawings.  Include related electrical work.

B.	Alternate No. 2: Provide all work related to renovations indicated at the Nursing Facility First Floor Corridor #180 and Documentation Office. See drawing A-7.  There is fire protection and electrical work associated with this alternate, and there may be plumbing and HVAC work as well. Verify on site prior to bidding.

END OF SECTION 01030