SECTION 01045 CUTTING AND PATCHING

PART 1 - GENERAL

1.01 SUMMARY

A.	Provide cutting and patching work, complying with project requirements for:

1. Structural work.

2. Mechanical/electrica1 systems.

3. Fire resistance ratings.

PART 2 - PRODUCTS

2.01 MATERIALS

A.	Match existing materials for cutting and patching work with new materials conforming to project requirements.

PART 3 - EXECUTION

3.01 INSTALLATION

A.	Inspect conditions prior to work to identify scope and type of work required. Notify Owner of work requiring interruption to building services or Owner's operations. Conform to project requirements listed above.

B.	Perform work with workmen skilled in the trades involved. Prepare sample area of each type of work involved for approval.

C.	Clean work area and areas affected by cutting and patching operations.

END OF SECTION 01045