SECTION 01600 - MATERIALS AND EQUIPMENT

PART 1 GENERAL

1.01	SUMMARY

A.	This Section specifies administrative and procedural requirements governing the Contractor's selection of products for use in the Project.

B.	Definitions:

1.	General:

a.	Definitions used in this Article are not intended to change the meaning of other terms used in the Contract Documents, such as, specialties, systems, structure, finishes, accessories, and similar terms.

b.	Such terms are self-explanatory and have well recognized meanings in the construction industry.

2.	Products:

a.	Items purchased for incorporation in the Work, whether purchased for the Project or taken from previously purchased stock.

b.	The term product includes the terms material, equipment, system, and terms of similar intent.

c.	Named Products: Items identified by manufacturer's product name, including make or model designation, indicated in the manufacturer's published product literature, that is current as of the date of the Contract Documents.

3.	Materials: Products that are substantially shaped, cut, worked, mixed, finished, refined, or otherwise fabricated, processed, or installed to form a part of the Work.

4.	Equipment: A product with operational parts, whether motorized or manually operated, that requires service connections such as wiring or piping.

1.02	QUALITY ASSURANCE

A.	Source Limitations:

1. 	To the fullest extent possible, provide products of the same kind, from a single source.

2.	When specified products are available only from sources that do not or cannot produce a quantity adequate to complete Project requirements in a timely manner, consult with the Architect for a determination of the most important product qualities before proceeding.

3.	Qualities may include attributes relating to visual appearance, strength, structural, durability, or compatibility.

4.	When a determination has been made, select products from sources that produce products that possess these qualities, to the fullest extent possible.

B.	Compatibility of Options:

1.	When the Contractor is given the option of selecting between two or more products for use on the Project, the product selected shall be compatible with products previously selected, even if previously selected products were also options.

2. 	Each prime Contractor is responsible for providing products and construction methods that are compatible with products and construction methods of other Prime or separate Contractors.

3.	If a dispute arises between prime Contractors over concurrently selectable, but incompatible products, the architect will determine which products shall be retained and which are incompatible and must be replaced.

C.	Nameplates:

1.	Except for required labels and operating data, do not attach or imprint manufacturer's or producer's nameplates or trademarks on exposed surfaces of products which will be exposed to view in occupied spaces or on the exterior.

2.	Labels: Locate required product labels and stamps on a concealed surface or, where required for observation after installation, on an accessible surface that is not conspicuous,

3.	Equipment Nameplates:

a.	Provide a permanent nameplate on each item of service-connected or power-operated equipment.

b.	Locate on an easily accessible surface which is inconspicuous in occupied spaces.

c.	The nameplate shall contain the following information and other essential operating data; Name of Product or Manufacturer, Model and Serial Number, Capacity, Speed, Ratings.

1.03	PRODUCT DELIVERY, STORAGE, AND HANDLING

A.	Deliver, store, and handle products in accordance with the manufacturer's recommendations, using means and methods that will prevent damage, deterioration and loss, including theft.

B.	Delivery:

1.	Schedule delivery to minimize long-term storage at the site and to prevent overcrowding of construction spaces.

2.	Coordinate delivery and installation to ensure minimum holding time for items that are flammable, hazardous, easily damaged, or sensitive to deterioration, theft, and other losses.

3.	Deliver products to the site in the manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting, and installing.

4.	Inspect products upon delivery to ensure compliance with the Contract Documents, and to ensure that products are undamaged and properly protected.

C.	Storage:

1.	Store products at the site in a manner that will facilitate inspection and measurement of quantity or counting of units.

2.	Store heavy materials away from the Project structure in a manner that will not endanger the supporting construction.

3.	Store products subject to damage by the elements above ground, under cover in a weather tight enclosure, with ventilation adequate to prevent condensation.

4.	Maintain temperature and humidity within range required by manufacturer's instructions.

PART 2 PRODUCTS

2.01	PRODUCT SELECTION

A.	General Product Requirements:

1.	Provide products that comply with the Contract Documents, that are undamaged and, unless otherwise indicated, unused at the time of installation.

2.	Provide products complete with all accessories, trim, finish, safety guards, and other devices and details needed for a complete installation and for the intended use and effect.

3.	Standard Products: Where available, provide standard products of types that have been produced and used successfully in similar situations on other projects.

B.	Product Selection Procedures:

1. 	Product selection is governed by the Contract Documents and governing regulations, not by previous Project experience.

2.	Procedures governing product selection include the following.

3.	Proprietary Specification Requirements:

a.	Where only a single product or manufacturer is named, provide the product indicated.

b.	No substitutions will be permitted.

4.	Semiproprietary Specification Requirements:

a.	Where two or more products or manufacturers are named, provide one of the products indicated.

b.	No substitutions will be permitted.

c.	Where products or manufacturers are specified by name, accompanied by the term "or equal", or "or approved equal", comply with the Contract Document provisions concerning "substitutions" to obtain approval for use of an unnamed product.

5.	Non-Proprietary Specifications:

a.	When the Specifications list products or manufacturers that are available and may be incorporated in the Work, but do not restrict the Contractor to the use of these products only, the Contractor may propose any available product that complies with Contract requirements.

b.	Comply with Contract Document provisions concerning "substitutions" to obtain approval for use of an unnamed product.

6.	Descriptive Specification Requirements: Where the Specifications describe a product or assembly listing exact characteristics required, with or without use of a brand or trade name, provide a product or assembly that provides the characteristics and otherwise complies with Contract requirements.

7.	Performance Specification Requirements:

a.	Where Specifications require compliance with performance requirements, provide products that comply with these requirements, and are recommended by the manufacturer for the application indicated.

b.	General overall performance of a product is implied where the product is specified for a specific application.

c.	Manufacturer's recommendations may be contained in published product literature, or by the manufacturer's certification of performance.

8.	Compliance with Standards, Codes and Regulations: Where the Specifications only require compliance with an imposed code, standard, or regulation, select a product that complies with the standards, codes, or regulations specified.

9.	Visual Matching:

a.	Where Specifications require matching an established sample, the Architect's decision will be final on whether a proposed product matches satisfactorily.

b.	Where no product available within the specified category matches satisfactorily and also complies with other specified requirements, comply with provisions of the Contract Documents concerning "substitutions" for selection of a matching product in another product category, or for noncompliance with specified requirements.

10.	Visual Selection:

a.	Where specified product requirements include the phrase "...as selected from manufacturer's standard colors, patterns, textures..." or a similar phrase, select a product and manufacturer that complies with other specified requirements.

b.	The Architect will select the color, pattern, and texture from the product line selected.

PART 3 EXECUTION

3.01 INSTALLATION OF PRODUCTS

A.	Comply with manufacturer's instructions and recommendations for installation of products in the applications indicated.

B. 	Anchor each product securely in space, accurately located, and aligned with other work.

C.	Clean exposed surfaces and protect as necessary to ensure freedom from damage and deterioration at time of Substantial Completion.

END OF SECTION 01600