SECTION 01700 - PROJECT CLOSEOUT

PART 1 GENERAL

1.01	SUMMARY

A.	This Section specifies administrative and procedural requirements for Project Closeout including, but not limited to:

1. Inspection Procedures.

2. Project Record Document Submittals.

3. Operating and Maintenance Manual Submittals.

4. Submittal of Warranties.

5. Final Cleaning.

B.	Closeout requirements for specific construction activities are included in the appropriate Sections in Divisions 2 through 16.

1.02	SUBSTANTIAL COMPLETION

A.	Preliminary Procedures:

1. Before requesting inspection for certification of Substantial Completion, complete the following.

2.	List exceptions in the request.

3.	In the Application for Payment that coincides with, or first follows, the date Substantial Completion is claimed, show 100 percent Completion for the portion of the Work claimed as Substantially Complete.

4.	Include supporting documentation for Completion as indicated in these Contract Documents and a statement showing an accounting of changes to the Contract Sum.

5.	If 100 percent Completion cannot be shown, include a list of incomplete items, the value of incomplete construction, and reasons the Work is not complete.

6.	Advise Owner of pending insurance change-over requirements.

7.	Submit specific warranties, workmanship bonds,  maintenance agreements, final certifications, and similar documents.

8. Obtain and submit releases enabling the Owner unrestricted use of the Work and access to services and utilities; include occupancy permits, operating certificates, and similar releases.

9. Submit record drawings, maintenance manuals, final  project photographs, damage or settlement survey, property survey, and similar final record information.

10. Deliver tools, spare parts, extra stock, and similar items.

11. Make final change-over of permanent locks and transmit keys to the Owner.

12.	Advise the Owner's personnel of the change-over in security provisions.

13. Complete start-up testing of systems, and instruction of the Owner's operating and maintenance personnel.

14.	Discontinue or change-over and remove temporary facilities from the site, along with construction tools, mock-ups, and similar elements.

15. Complete final clean up requirements, including touch-up painting.

16.	Touch-up and otherwise repair and restore marred exposed finishes.

B.	Inspection Procedures:

1.	On receipt of a request for inspection, the Architect will either proceed with inspection or advise the Contractor of unfilled requirements.

2.	The Architect will prepare the Certificate of Substantial Completion following inspection, or advise the Contractor of construction that must be completed or corrected before the Certificate will be issued.

3.	The Architect will repeat inspection when requested and assured that the Work has been Substantially Completed.

4.	Results of the completed inspection will form the basis of requirements for Final Acceptance.

1.03 FINAL ACCEPTANCE

A.	Preliminary Procedures:

1.	Before requesting final inspection for certification of Final Acceptance and Final Payment, complete the following.

2.	List exceptions in the request.

3.	Submit the Final Payment Request with final releases and supporting documentation not previously submitted and accepted.

4. Include certificates of insurance for products and completed operations where required.

5.	Submit an updated final statement, accounting for final additional changes to the Contract Sum.

6. Submit a certified copy of the Architect's final inspection list of items to be completed or corrected, stating that each item has been completed or otherwise resolved for Acceptance and the list has been endorsed and dated by the Architect.

7.	Submit final meter readings for utilities, a measured record of stored fuel, and similar data as of the date of Substantial Completion, or when the Owner took possession of and responsibility for corresponding elements of the Work.

8.	Submit consent of surety to Final Payment.

9.	Submit a final Liquidated Damages Settlement Statement.

10. Submit evidence of final, continuing insurance coverage complying with insurance requirements.

B.	Reinspection Procedure:

1.	The Architect will reinspect the Work upon receipt of notice that the Work, including inspection list items from earlier inspections, has been completed, except items whose completion has been delayed because of circumstances acceptable to the Architect.

2.	Upon completion of reinspection, the Architect will prepare a Certificate of Final Acceptance, or advise the Contractor of Work that is incomplete or of obligations that have not been fulfilled but are required for Final Acceptance.

3.	If necessary, reinspection will be repeated.

1.04	RECORD DOCUMENT SUBMITTALS

A.	General:

1.	Do not use record documents for construction purposes; protect from deterioration and loss in a secure, fire-resistive location.

2.	Provide access to record documents for the Architect's reference during normal working hours.

B. Record Drawings:

1.	Maintain a clean, undamaged set of blue or black line white-prints of Contract Drawings and Shop Drawings.

2.	Mark the set to show the actual installation where the installation varies substantially from the Work as originally shown.

3.	Mark whichever drawing is most capable of showing conditions fully and accurately.

4.	Where shop drawings are used, record a cross-reference at the corresponding location on the Contract Drawings.

5.	Give particular attention to concealed elements that would be difficult to measure and record at a later date.

6.	Mark record sets with red erasable pencil; use other colors to distinguish between variations in separate categories of the Work.

7.	Mark new information that is important to the Owner, but was not shown on Contract Drawings or Shop Drawings.

8.	Note related Change Order numbers where applicable.

9.	Organize record drawing sheets into manageable sets, bind with durable paper cover sheets, and print suitable titles, dates, and other identification on the cover of each set.

C.	Record Specifications:

1.	Maintain one complete copy of the Project Manual, including addenda, and one copy of other written Construction Documents such as Change Orders and modifications issued in printed form during construction.

2.	Mark these documents to show substantial variations in actual Work performed in comparison with the text of the Specifications and modifications.

3.	Give particular attention to substitutions, selection of options, and similar information on elements that are concealed or cannot otherwise be readily discerned later by direct observation.

4.	Note related Record Drawing information and Product Data.

5.	Upon completion of the Work, submit record Specifications to the Architect for the Owner's records.

D.	Record Submittals / Product Data:

1.	Maintain one copy of each submittal to be provided to the Owner at project completion.

2.	Mark these documents to show significant variations in actual Work performed in comparison with information submitted.

3. 	Include variations in products delivered to the site and from the manufacturer's installation instructions and recommendations.

4.	Give particular attention to concealed products and portions of the Work which cannot otherwise be readily discerned later by direct observation.

5.	Note related Change Orders and mark-up of Record Drawings and Specifications.

6.	Upon completion of mark-up, submit complete set of record Product Data to the Architect for the Owner's records.

E.	Record Sample Submittal:

1. Immediately before the date or dates of Substantial Completion, the Contractor will meet at the site with the Architect and the Owner's personnel to determine which of the submitted Samples that have been maintained during progress of the Work, are to be transmitted to the Owner for record purposes.

2.	Comply with delivery to the Owner's sample storage area.

F.	Miscellaneous Record Submittals:

1.	Refer to other Specification Sections for requirements of miscellaneous record-keeping and submittals in connection with actual performance of the Work.

2.	Immediately before the date or dates of Substantial Completion, complete miscellaneous records and place in good order, properly identified and bound or filed, ready for continued use and reference.

3.	Submit to the Architect for the Owner's records.

G.	Maintenance Manuals:

1.	Organize operating and maintenance data into suitable sets of manageable size.

2.	Bind properly indexed data in individual heavy-duty 2 in., 3-ring vinyl-covered binders, with pocket folders for folded sheet information.

3.	Mark appropriate identification on front and spine of each binder.

4.	Include the following types of information:

a.	 Emergency Instructions.

b.	 Spare Parts List.

c.	 Copies of Warranties.

d.	 Wiring Diagrams.

e.	 Recommended Turn-around Cycles.

f.	 Inspection Procedures.

g.	 Shop Drawings and Product Data.

h.	 Fixture Lamping Schedule.

PART 2 PRODUCTS

NOT USED

PART 3 EXECUTION

3.01	CLOSEOUT PROCEDURES

A.	Operating and Maintenance Instructions:

1.	Arrange for each installer of equipment that requires regular maintenance to meet with the Owner's personnel to provide instruction in proper operation and maintenance.

2.	If installers are not experienced in procedures, provide instruction by manufacturer's representatives; complete with step-by step operating manuals written for each operating sequence or combination of sequences.

3.	Include a detailed review of the following items:

a.	Maintenance Manuals complete with step-by step instructions for maintenance and troubleshooting.

b.	Record Documents.

c.	Spare Parts and Materials.

d.	Tools.

e.	Lubricants.

f.	Fuels.

g.	Identification Systems.

h.	Control Sequences.

i.	Hazards.

j.	Cleaning.

k.	Warranties and Bonds.

l.	Maintenance Agreements and similar continuing commitments.

4.	As part of instruction for operating equipment, demonstrate the following procedures:

a.	Start-up.

b.	Shut-down.

c.	Emergency Operations.

d.	Noise and Vibration Adjustments.

e.	Safety Procedures.

f.	Economy and Efficiency Adjustments.

g.	Effective Energy Utilization.

3.02	FINAL CLEANING

A.	General: General Cleaning during construction is required by the General Conditions and is included in Section 01500, Temporary Facilities.

B.	Cleaning:

1.	Employ experienced workers or professional cleaners for final cleaning.

2.	Clean each surface or unit to the condition expected in a normal, commercial building cleaning and maintenance program.

3.	Comply with manufacturer's instructions.

4.	Complete the following cleaning operations before requesting inspection for Certificate of Substantial Completion.

a.	Remove labels that are not permanent labels.

b.	Clean transparent materials, including mirrors and glass in doors and windows.

c.	Remove glazing compound and other substances that are noticeable vision-obscuring materials

d.	Replace chipped or broken glass and other damaged transparent materials.

e.	Clean exposed exterior and interior hard-surfaced finishes to a dust-free condition, free of stains, films, and similar foreign substances.

f. Restore reflective surfaces to their original reflective condition.

g.	Leave concrete floors broom clean.

h.	Vacuum carpeted surfaces.

i.	Wipe surfaces of mechanical and electrical equipment,

j.	Clean plumbing fixtures to a sanitary condition.

k.	Clean light fixtures and lamps.

1.	Clean the site, including landscape development areas, of rubbish, litter, and other foreign substances.

m. Sweep paved areas broom clean; remove stains, spills, and other foreign deposits.

n.	Rake grounds that are neither paved nor planted, to a smooth even-textured surface.

C.	Pest Control: Engage an experienced exterminator to make a final inspection and rid the Project of rodents, insects, and other pests.

D.	Removal of Protection: Remove temporary protection and facilities installed for protection of the Work during construction.

E.	Compliance:

1.	Comply with regulations of authorities having jurisdiction and safety standards for cleaning.

2.	Do not burn waste materials.

3.	Do not bury debris or excess materials on the Owner's property.

4.	Do not discharge volatile, harmful, or dangerous materials into drainage systems.

5.	Remove waste materials from the site and dispose of in a lawful manner.

6.	Where extra materials of value remaining after completion of associated Work have become the Owner's property, arrange for disposition of these materials as directed.

END OF SECTION 01700