HARDWARE SCHEDULE

General Hardware Notes:

Unless noted otherwise:

-All doors to have 1 1/2 pair butts

-All doors to have door stops (overhead stops where required)

-All doors to have silencers

-All exterior doors to have threshold and weatherstripping.

-Provide lever handles throughout unless noted otherwise.

-All hardware on fire rated doors to be fire rated.

*Finishes:

US10 (Bronze, clear coated, to match existing hardware finishes): All areas.

Set #1:

Lockset

Kickplate

Set #2:

Lockset

Kickplate

Set #3:

Lockset

Kickplate

Sound stripping

Automatic door bottom

Set #4:

Not Used

Set #5:

Lockset, dummy lever on inactive leaf

Kickplates

Automatic flush bolts

Astragal

Overhead stop

Set #6 (Alt. #1):

Lockset

Closer

Kickplate

Weatherstripping

Threshold

---------------------------

End of Hardware Schedule