***** Paragraph Numbered Format ***** ******* Copyright 1988, ARCOM ******* ARCHITECTURAL COMPUTER SERVICES, INC.

SECTION 09678 - RESILIENT WALL BASE AND ACCESSORIES

THIS SECTION USES THE TERM ARCHITECT.  CHANGE THIS TERM AS NECESSARY TO MATCH ACTUAL TERM USED TO IDENTIFY DESIGN PROFESSIONAL AS DEFINED IN GENERAL AND SUPPLEMENTARY CONDITIONS.

PART 1 - GENERAL

1.1	RELATED DOCUMENTS

A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2	SUMMARY

A.	This Section includes the following:

ADJUST LIST BELOW TO SUIT PROJECT.  IF NO RESILIENT WALL BASE OR RESILIENT ACCESSORIES REQUIRED, REVISE SECTION NO. AND TITLE ACCORDINGLY.

1.	Resilient wall base.

2.	Resilient stair accessories.

3.	Resilient flooring accessories.

4.	Resilient carpet accessories.

LIST ONLY PRODUCTS, CONSTRUCTION, AND EQUIPMENT INCLUDED IN THIS PROJECT THAT THE READER WOULD EXPECT TO FIND IN THIS SECTION.  VERIFY THAT SECTIONS LISTED ARE INCLUDED IN THIS SPECIFICATION AND THAT THEIR TITLES ARE CORRECT.

B.	Related Sections:  The following Sections contain requirements that relate to this Section:

1.	Division 9 Section "Resilient Tile Flooring."

2.	Division 9 Section "Sheet Vinyl Floor Covering."

1.3	SUBMITTALS

A.	General:  Submit the following in accordance with Conditions of Contract and Division 1 Specification Sections.

B.	Product data for each type of product specified.

DELETE ABOVE IF COLORS, ETC., PRESELECTED AND SPECIFIED OR SCHEDULED.  RETAIN BELOW WITH OR WITHOUT ABOVE.

C.	Samples for verification purposes in manufacturer's standard sizes, but not less than 12 inches long, of each different color and pattern of product specified.

DELETE BELOW IF NOT ALLOWED.

1.4	QUALITY ASSURANCE

A.	Fire Performance Characteristics:  Provide products with the following fire performance characteristics as determined by testing products per ASTM test method indicated below by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.

1.	Critical Radiant Flux:  0.45 watts per sq. cm or more per ASTM E 648.

2.	Smoke Density:  Less than 450 per ASTM E 662.

1.6	PROJECT CONDITIONS

A.	Maintain a minimum temperature of 70 deg F (21 deg C) in spaces to receive products specified in this Section for at least 48 hours prior to installation, during installation, and for not less than 48 hours after installation.  After this period, maintain a temperature of not less than 55 deg F (13 deg C).

B.	Do not install products until they are at the same temperature as that of the space where they are to be installed.

C.	Close spaces to traffic during installation of products specified in this Section.

1.8	EXTRA MATERIALS

A.	Deliver extra materials to Owner.  Furnish extra materials matching products installed as described below, packaged with protective covering for storage, and identified with labels clearly describing contents.

RETAIN, REVISE, OR DELETE BELOW AS REQUIRED.

1.	Furnish not less than 10 linear feet for each 500 linear feet or fraction thereof of each different type and color of resilient wall base installed.

PART 2 - PRODUCTS

2.1	MANUFACTURERS

A.	Available Products:  Subject to compliance with requirements, products that may be incorporated in the Work include, but are not limited to, those specified.

RETAIN ABOVE FOR NONPROPRIETARY OR BELOW FOR SEMIPROPRIETARY SPECIFICATION FOR RESILIENT ACCESSORIES OR DELETE BOTH IF ONLY PRODUCT SPECIFIED IS RESILIENT WALL BASE OR NO PRODUCTS NAMED IN PRODUCT DATA SHEETS.  REFER TO DIVISION 1 SECTION "MATERIALS AND EQUIPMENT." SEE EDITING INSTRUCTION NO. 2 IN EVALUATIONS FOR CAUTIONS ABOUT NAMING PRODUCTS AND MANUFACTURERS AND NO. 3 FOR USE OF PRODUCT DATA SHEETS.

2.2	RESILIENT WALL BASE

RETAIN PARAGRAPH ABOVE OR BELOW OR BOTH THAT SPECIFIES TYPE(S) OF RESILIENT WALL BASE REQUIRED FOR PROJECT IN COMBINATION WITH AS MANY PRODUCT DATA SHEETS AS NEEDED TO SPECIFY EACH DIFFERENT STYLE, THICKNESS, HEIGHT, AND COLOR.

A NEW ASTM STANDARD FOR WALL BASE IS NOW UNDER DEVELOPMENT AND IS INTENDED TO REPLACE FS SS-W-40.

A.	Vinyl Wall Base:  Products complying with FS SS-W-40, Type II; .080" gage x 4"; as specified in the Room Finish Schedule and Finish Specifications.

2.4	RESILIENT ACCESSORIES

DELETE ABOVE OR BELOW IF NOT APPLICABLE.

B.	Vinyl Accessories:  Products  by Johnsonite or equal. Provide reducer strips in continuous lengths at exposed vinyl tile and carpet edges and at transitions between materials. Provide  profile recomended by manufacturer for each application.

2.5	INSTALLATION ACCESSORIES

A.	Concrete Slab Primer:  Nonstaining type as recommended by flooring manufacturer.

DELETE BELOW IF NO CONCRETE SUBSTRATES.  USE OF GYPSUM-BASED FORMULATIONS NOT RECOMMENDED BY RESILIENT FLOORING MFRS.

B.	Trowelable Underlayments and Patching Compounds:  Latex-modified, portland-cement-based formulation provided or approved by flooring manufacturer for applications indicated.

C.	Adhesives:  Water-resistant type recommended by manufacturer to suit resilient flooring product and substrate conditions indicated.

PART 3 - EXECUTION

3.1	EXAMINATION

A.	Examine areas where installation of products specified in this Section will occur, with Installer present, to verify that substrates and conditions are satisfactory for installation and comply with manufacturer's requirements and those specified in this Section.

3.2	PREPARATION

A.	General:  Comply with manufacturer's installation specifications for preparing substrates indicated to receive products indicated.

B.	Use trowelable leveling and patching compounds per manufacturers directions to fill cracks, holes, and depressions in substrates.

C.	Use stair tread nose filler per tread manufacturer's directions to fill nosing substrates not conforming to tread contours.

D.	Remove coatings, including curing compounds, and other substances that are incompatible with flooring adhesives and that contain soap, wax, oil, or silicone, by using a terrazzo or concrete grinder, a drum sander, or a polishing machine equipped with a heavy-duty wire brush.

E.	Broom or vacuum clean substrates to be covered immediately before installing products specified in this Section.  Following cleaning, examine substrates for moisture, alkaline salts, carbonation, or dust.

F.	Apply concrete slab primer, if recommended by flooring manufacturer, prior to applying adhesive.  Apply according to manufacturer's directions.

3.3	INSTALLATION

SELECT INSTALLATION PROCEDURES TO SUIT ACCESSORY TYPE.  ADD OTHER SPECIFIC INSTALLATION INSTRUCTIONS AS APPROPRIATE.

A.	General:  Install products specified in this Section using methods indicated according to manufacturer's installation directions.

B.	Apply resilient wall base to walls, columns, pilasters, casework, and other permanent fixtures in rooms and areas where base is required.  Install wall base in lengths as long as practicable.  Tightly adhere wall base to substrate throughout length of each piece, with base in continuous contact with horizontal and vertical substrates.

1.	On masonry surfaces or other similar irregular substrates, fill voids along top edge of resilient wall base with manufacturer's recommended adhesive filler material.

2.	Install inside and exterior corners before installing straight pieces.

DELETE FOLLOWING SUBPARAGRAPHS IF PREMOLDED CORNERS EXCLUSIVELY SPECIFIED IN PRODUCT DATA SHEETS AT END OF SECTION.

3.	Form inside corners on job from straight pieces of maximum lengths possible by cutting an inverted V-shaped notch in toe of wall base at the point where corner is formed.  Shave back of base where necessary to produce snug fit to substrate.

4.	Form outside corners on job from straight pieces of maximum lengths possible by shaving back of base at point where bending will occur.  Remove a strip perpendicular to length of base and only deep enough to produce a snug fit without bends whitening or removal of more than half the thickness of wall base.

C.	Place resilient accessories so they are butted to adjacent materials of type indicated and bond to substrates with adhesive.  Install reducer strips at edges of flooring that otherwise would be exposed.

D.	Apply resilient accessories to stairs as indicated and according to manufacturer's installation instructions.

INSERT ADDITIONAL PARAGRAPHS FOR SPECIAL APPLICATIONS AS REQUIRED FOR PROJECT.

3.4	CLEANING AND PROTECTION

A.	Perform the following operations immediately after completing installation:

1.	Remove visible adhesive and other surface blemishes using cleaner recommended by manufacturers of resilient product involved.

2.	Sweep or vacuum floor thoroughly.

3.	Do not wash floor until after time period recommended by manufacturer.

4.	Damp-mop resilient accessories to remove black marks and soil.

B.	Protect flooring against mars, marks, indentations, and other damage from construction operations and placement of equipment and fixtures during remainder of construction period.  Use protection methods indicated or recommended by manufacturer of resilient product involved.

1.	Apply protective floor polish to resilient accessories that are free from soil, visible adhesive, and surface blemishes.

a.	Coordinate selection of floor polish with Owner's maintenance service.

DELETE APPLICATION OF FLOOR POLISH ABOVE OR BUILDING PAPER BELOW OR BOTH.

2.	Cover resilient accessories on stairs with undyed, untreated building paper until inspection for Substantial Completion.

FINAL CLEANING BELOW IS NORMALLY NOT WORK OF THIS SECTION.  RETAIN ONLY IF NOT COVERED IN APPLICABLE DIVISION 1 SECTION.

C.	Clean products specified in this Section not more than 4 days prior to dates scheduled for inspections intended to establish date of Substantial Completion in each area of Project.  Clean products using method recommended by manufacturer.

1.	Strip protective floor polish that was applied after completing installation, prior to cleaning.

RETAIN ABOVE ONLY IF POLISH APPLIED AFTER INSTALLATION.  REVISE BELOW AS RECOMMENDED TO SUIT OWNER'S PLANNED MAINTENANCE PROGRAM.

2.	Reapply floor polish after cleaning.

INSERT PRODUCT DATA SHEETS ON SEPARATE PAGES FOLLOWING LAST ARTICLE IN PART 3 ABOVE.  MOVE "END OF SECTION 09678" TO END OF LAST PRODUCT DATA SHEET.

REMOVE BRACKETS AND <UPPER CASE EDITOR'S NOTES> AFTER COMPLETING THE EDITING OF EACH DATA SHEET.  REFER TO A COMPLETED EXAMPLE AND TO EDITING INSTRUCTION NO. 3 IN EVALUATIONS FOR MORE EXTENSIVE EXPLANATION ON HOW TO USE DATA SHEETS.

END OF SECTION 09678