| Motley Street 14-403 94 additional feet (456 ft. exists from Brighton), 2 14’ travel lanes with 1’ gravel shoulders |
| --- |
|  | Standards | Preliminary Plan | 1st Revision |
| Transportation | 1. Impact on street system |  |  |
|  | 2. Access & Circulation | Sidewalk waiver request (no existing sidewalks, not on school walking route) Curb waiver request (no existing curbing) Geometry at end of street at Gillespie property? |  |
|  | 4. Parking |  |  |
| Environmental | 1. Preservation of Natural Features | Cutting trees in ROW. Need to tag? Ledge blasting? INCLUDE TM REFERENCE |  |
|  | 2. Landscaping & Landscape Pres. |  |  |
|  | 3. Water Quality, Storm Water Mgt, Erosion Control | Increase in impervious? 13’ current width to 28’ with 1’ granite shoulders Change of ???SF?? No treatment required. |  |
| Public Infrastructure & Comm. Safety | 1. Consistency with Master Plans | OK |  |
| Site Design | 5. Historic Resources | N/A |  |
|  | 6. Exterior Lighting | No street lights proposed |  |
|  | 8. Signage and Wayfinding |  |  |
|  | 9. Zoning Related Design Standards |  |  |

14-403

- Hydrant location (submittal states 400’ from hydrant)

- Size of water main and adequate flow for fire?

- Dead end

ZONING

Street frontage requirement in R-5 and R-3 = 50 ft. Lot in R-3 has app. 44.7..  Waiver for 50’ frontage in R-3?  ASK MARGE. MS says not necessary.

WAIVERS

Sidewalk – not on school walking route, none on rest of Motley

Curbing – none on rest of Motley, cost (of doing whole street) would be in excess of 5% of overall project cost ($50K)

QUESTIONS:

MISSING:

Limits & total area of disturbance?