From: 	Tom Errico <thomas.errico@tylin.com>
To:	Helen Donaldson <HCD@portlandmaine.gov>
CC:	David Margolis-Pineo <DMP@portlandmaine.gov>, Katherine Earley <KAS@portlandmaine.gov>, Jeremiah Bartlett <JBartlett@portlandmaine.gov>, Jeff Tarling <JST@portlandmaine.gov>
Date: 	5/1/2013 8:39 AM
Subject: 	11 Pomeroy Street

Nell ‑ I have reviewed the most recent plan for the above noted project and would recommend that that driveway width be 10 feet wide (the minimum width allowed under City standards).  Additionally, the turnaround should be revised to have a depth of 30 feet.

If you have any questions, please contact me.

Best regards,

Thomas A. Errico, PE
Senior Associate
Traffic Engineering Director
[T.Y. Lin International]T.Y. Lin International
12 Northbrook Drive
Falmouth, ME 04105
207.347.4354 direct
207.400.0719 mobile
207.781.4753 fax
thomas.errico@tylin.com<mailto:thomas.errico@tylin.com>
Visit us online at www.tylin.com<http://www.tylin.com>

"One Vision, One Company"
Please consider the environment before printing.