SECTION 015000 - TEMPORARY FACILITIES AND CONTROLS

PART 1 - GENERAL

1.1	SUMMARY

A.	General:  Specific administrative and procedural minimum actions are specified in this section, as extensions of provisions in other contract documents.  These requirements have been included for special purposes as indicated.  Nothing in this section is intended to limit types and amounts of temporary work required, and no omission from this section will be recognized as an indication that such temporary activity is not required for successful completion of the work and compliance with requirements of contract documents.  Provisions of this section are applicable to, but are not limited to, utility services, construction facilities, security/protection provisions, and support facilities.

1.2	JOB CONDITIONS

A.	General:  Establish and initiate use of each temporary facility at time first reasonably required for proper performance of the work.  Terminate use and remove facilities at earliest reasonable time, when no longer needed or when permanent facilities have, with authorized use, replaced the need.

B.	Conditions of Use:  Install, operate, maintain and protect temporary facilities in a manner and at locations which will be safe, non-hazardous, sanitary and protective of persons and property, and free of deleterious effects.

C.	Existing Equipment on Site:  Cover equipment that is to remain in place within the area of contract operations and protect it against damage or loss.  Store equipment that is removed in performance of work where directed or reuse in work as required by drawings and specifications.  Equipment temporarily removed shall be protected, cleaned and replaced equal to its condition prior to starting work.  Security for equipment or material that is to be reused and is removed for temporary storage shall be the sole responsibility of the Contractor.

1.3	OWNER OCCUPIED REQUIREMENTS

A.	Refer to Section 013100 for specific daily work requirements regarding protection of occupied spaces during construction.Existing Equipment on Site:  Cover equipment that is to remain in place within the area of contract operations Existing Equipment on Site:  Cover equipment that is to remain in place within the area of contract operations A.	General:  Establish and initiate use of each temporary facility at time first reasonably required for proper performance of the

1.3	SECURE BARRIER SUBMITTAL

A.	Provide schedule, plans, and detail information for secure plywood barrier in Terminal area.Existing Equipment on Site:  Cover equipment that is to remain in place within the area of contract operations Existing Equipment on Site:  Cover equipment that is to remain in place within the area of contract operations A.	General:  Establish and initiate use of each temporary facility at time first reasonably required for proper performance of the

PART 2 - PRODUCTS (Not Applicable)

PART 3 - EXECUTION

3.1	TEMPORARY UTILITY SERVICES:

A.	Water:  Premises are supplied with water services which may be used in this work, subject to regulations of the government agency in control.  Where non-potable water is used, mark each outlet with health hazard warning signs.

B.	Electric Power:  Premises are supplied with electrical services which may be used in this work, 	subject to regulations of the government agency in control.

3.2	TEMPORARY CONSTRUCTION FACILITIES:

A.	The types of temporary construction facilities required include, but are not limited to, enclosure of work, ventilation, and lighting.  Provide facilities reasonably required to perform construction operations properly and adequately.

B.	Enclosures:  When temporary enclosures are required to ensure adequate workmanship or dust protection, provide tarpaulins with UL label and flame spread of 15 or less.

C.	Electrical Facilities:  Provide all temporary electrical facilities, including lamps, required for construction and safety operations.  Remove all such equipment when permanent connections have been completed.  Where it is determined, during construction, that the temporary facilities, as installed, interfere with Government operations or other construction operations and, when notified by the Contracting Officer, relocate said facilities in an approved manner at no cost to the Government.  No wire, bus or electrical equipment which is part of any of the permanent electrical systems may be used for temporary electrical service for construction operations, unless specifically approved by the Contracting Officer.  Temporary connections shall be in accordance with NEC and OSHA requirements.  The Contractor shall be responsible for any damage or injury to equipment, materials, or personnel caused by improperly protected temporary installations.  All costs for materials and installation for temporary electrical facilities and energy for their operation shall be at the expense of the Contractor.  The hours of operation, level of illumination and coverage for safety of personnel shall meet the minimum requirements of OSHA.

D.	Access Provisions:  Provide ladders and similar temporary access elements as reasonably required to perform the work and facilitate its inspection during installation.

3.3	SECURITY PROVISIONS:

A.	General:  Provide security services and systems such as to achieve 24-hour, 7 days per week protection from theft, vandalism, personal injury and property damage. Refer to Section 01546, "Safety and Health." Provisions shall include, but not be limited to the following:

1.	Provide dustproof enclosures for protection where dirty work is performed.  Dampen debris when removed to avoid dusting.

2.	Building Enclosure and Lockup:  Secure floor area against unauthorized entrance at times when personnel are not working.

3.	Provide secure floor to ceiling plywood barriers in the Terminal/Gate area subject to significant security requirements. Provide Contracting Officer schedule, plans, and construction of barrier for approval by the Jetport and TSA.

3.5	TEMPORARY SUPPORT FACILITIES:

- General:  The types of temporary support facilities required include, but are not limited to, field offices, sanitary facilities, drinking water, first aid facilities, bulletin board, private and public telephones, clocks, thermometer, project identification signs, cleanup facilities, waste disposal service, rodent/pest control and similar miscellaneous general services, all as may be reasonably required for proficient performance of the work and accommodation of personnel at the site.  Discontinue and remove temporary support facilities, and make incidental similar use of permanent work of the project, only when and in manner authorized by the Contracting Officer and, if not otherwise indicated, immediately before time of substantial completion.  Locate temporary support facilities for convenience of users, and for minimum interference with construction activities.

B.	Sanitary Facilities:  Contractor's personnel may use toilet rooms on the premises subject to regulation and control of the Contracting Officer or his designated representatives.

END OF SECTION 015000