SECTION 016000 – PRODUCT REQUIREMENTS

PART 1 - GENERAL

1.1	SUMMARY

A.	General:  Refer to clause, "Materials and Workmanship" of the Contract Clauses.  Unless otherwise specifically provided in this contract, reference to any equipment, material, article, or patented process, by trade name, make, or catalog number, shall be regarded as establishing a standard of quality and shall not be construed as limiting competition. Subject to compliance with specified requirements, the Contractor may, at his option, use any equipment, material, article, or process which, in the judgment of the Contracting Officer, is equal to that named.

B.	Definitions:  "Products" is defined to include purchased items for incorporation into the work, regardless of whether specifically purchased for project or taken from Contractor's stock of previously purchased products. "Materials" is defined as products which must be substantially cut, shaped, worked, mixed, finished, refined or otherwise fabricated, processed, installed or applied to form units of work.  "Equipment" is defined as products with operational parts, regardless of whether motorized or manually operated, and particularly including products with service connections (wiring, piping, etc.).  Definitions in this paragraph are not intended to negate the meaning of other terms used in contract documents, including "specialties", "systems", "structure", "finishes", "accessories", "furnishings", "special construction", and similar terms, which are self-explanatory and have recognized meanings in the construction industry.

C.	Standards:  Refer to Division 1 section "Definitions and Standards" for applicability of industry standards to products of project, and for acronyms used in text of specification sections.

1.2	SUBMITTALS

A.	Requests for Substitutions:  Requests for substitutions shall be treated as a contract change and shall be subject to clauses "Changes" and "Equitable Adjustments" in General Conditions.  Submit 7 copies, fully identified for product or method being replaced by substitution, including related specification section and drawing number(s), and fully documented to show compliance with requirements for substitutions.  Include product data/drawings, description of methods, samples where applicable, Contractor's detailed comparison of significant qualities between specified item and proposed substitution, statement of effect on construction time and coordination with other affected work, cost information or proposal, and Contractor's statement to the effect that proposed substitution will result in overall work equal-to-or-better-than work originally indicated.

B.	Labels and Listings:  Where equipment or materials are specified to conform to requirements of the standards of organizations such as American Society of Mechanical Engineers (ASME), Underwriters Laboratories Inc. (UL), American Gas Association (AGA), American Refrigeration Institute (ARI), Air Diffusion Council (ADC), Sheet Metal and air-conditioning Contractors National Association, Inc. (SMACNA), and Air Moving and Conditioning Association (AMCA) or other organizations that use a label or listing as a method of indicating compliance, submit proof of such conformance to the Contracting Officer for approval.  The label or listing of the specified organization will be acceptable evidence.  In lieu of the label or listing, the Contractor may submit a notarized certificate from a nationally recognized testing organization, adequately equipped and competent to perform such services and approved by the Contracting Officer, stating that the item has been tested in accordance with the specified organization's test methods and that the item conforms to the specified organization's standard or code.  For materials whose compliance with organizational standards or specifications is not regulated by an organization using its own listing or label as proof of compliance, furnish a notarized certificate from the manufacturer stating that the material complies with the applicable referenced standard or specification.

C.	Work Related Submittals:  Contractor's submittal of (and Government acceptance of) shop drawings, product data or samples which relate to work not complying with requirements of contract documents, does not constitute an acceptable or valid request for a substitution, nor approval thereof.

1.3	QUALITY ASSURANCE

A.	Source Limitations:  To the greatest extent possible for each unit of work, and subject to the restrictions of the Buy American Act, provide products, materials or equipment of a singular generic kind from a single source.

B.	Compatibility of Options:  Where more than one choice is available as options for Contractor's selection of a product or material, select an option which is compatible with other products and materials already selected (which may have been from among options for those other products and materials).  Total compatibility among options is not assured by limitations within contract documents, but must be provided by Contractor.  Compatibility is a basic general requirement of product/material selections.

- PRODUCT DELIVERY-STORAGE-HANDLING

A.	General:  Deliver, handle and store products in accordance with manufacturer's recommendations and by methods and means which will prevent damage, deterioration, and loss including theft and protect against damage from climatic conditions.  Control delivery schedules to minimize long-term storage of products at site and overcrowding of construction spaces.  In particular, provide delivery/installation coordination to ensure minimum holding or storage times for products recognized to be flammable, hazardous, easily damaged, or sensitive to deterioration, theft and other sources of loss. Damaged or defective items, in the opinion of the Contracting Officer shall be replaced at no cost to the Government.

1.5	WARRANTIES (GUARANTEES)

A.	General:  The warranty and guarantee provisions of the Contract Clauses apply to all work of the contract, including but not limited to, the following specific categories related to individual units of work specified in sections of Divisions 2 through 16 of these specifications:

1.	Specified Product Warranty:  A warranty which is required by contract documents, to be provided for a manufactured product incorporated into the work, regardless of whether manufacturer has published a similar warranty without regard for specific incorporation of product into the work, or has written and executed a special project warranty as a direct result of contract document requirements.

2.	Coincidental Product Warranty:  A warranty which is not specifically required by contract documents (other than as specified in this Section); but which is available on a product incorporated into the work, by virtue of the fact that manufacturer of product has published warranty in connection with purchases and users of product without regard for specific applications except as otherwise limited by terms of warranty.

B.	Refer to individual sections of Divisions 02 through 33 for the determination of units of work which are required to be specifically or individually warranted, and for the specific requirements and terms of those warranties (or guarantees), in excess of what the Contract Clauses require.

PART 2 - PRODUCTS

2.1	GENERAL PRODUCT COMPLIANCES

A.	General:  The compliance requirements for individual products, as indicated in contract documents, are multiple in nature and may include generic, descriptive, performance, prescriptive, compliance with standards, conformance with graphic details and other similar forms and methods of indicating requirements, all of which must be complied with.

B.	Procedures for Selecting Products:  Contractor's options for selecting products are limited by contract document requirements, and governing regulations, and are not controlled by industry traditions or procedures experienced by Contractor on previous construction projects.  Required procedures include, but are not necessarily limited to, the following for various indicated methods of specifying:

1.	Standards, Codes and Regulations:  Where only compliance with an imposed standard, code or regulation is required, selection from among products which comply with requirements including those standards, codes and regulations, is Contractor's option.

2.	Performance Requirements:  Provide products which comply with specific performances indicated, and which are recommended by manufacturer (in published product literature or by individual certification for application indicated.  Overall performance of a product is implied where product is specified with only certain specific performance requirements.

3.	Prescriptive Requirements:  Provide products which have been produced in accordance with prescriptive requirements, using specified ingredients and components, and complying with specified requirements for mixing, fabricating, curing, finishing, testing and similar operations in manufacturing process.

4.	Visual Matching:  Where matching with an established sample is required, final judgment of whether a product proposed by Contractor matches sample satisfactorily is the Contracting Officer's.

5.	Visual Selection:  Except as otherwise indicated, where specified product requirements include "....as selected from manufacturer's standard colors, patterns, textures...." or words of similar effect, the selection of manufacturer and basic product (complying with requirements) is Contractor's option and subsequent selection of color, pattern and texture is the Contracting Officer's selection.

2.2	GENERAL PRODUCT REQUIREMENTS

A.	General:  Provide products which comply with the clause "MATERIALS AND WORKMANSHIP" of the Contract Clauses, and which are undamaged and unused at time of installation, and which are complete with accessories, trim, finish, safety guards and other devices and details needed for complete installation and for intended use and effect.

1.	Standard Products:  Products shall be essentially the standard catalogued products of manufacturers regularly engaged in production of such products and shall be the manufacturer's latest standard design that complies with the specification requirements. Equipment shall essentially duplicate items that have been in satisfactory commercial and industrial use at least two years, or more if otherwise specified, prior to bid opening; or in lieu thereof shall have been used and operated in a test installation which, in the opinion of the Contracting Officer, duplicate its field performance for the same period of time.  The Contracting Officer reserves the right to require the Contractor to submit evidence to this effect for his approval.  When two units of the same class of equipment are required, these units shall be the product of a single manufacturer; however, the component parts of the system need not be the products of the same manufacturer.

2.	Continued Availability:  Products which, by nature of their application, are likely to be needed at a later date for maintenance and repair or replacement work, shall be current models for which replacement parts are available.

2.3	LABELS AND NAMEPLATES

A.	General:  To the extent feasible and consistent with the following requirements pertaining to the appearance of the finished building, wherever a product is required to comply with a specified standard, grade, class, or type, a permanent label to this effect shall be applied to the product.  Where this is not feasible because of the nature of the product, the label shall be on or inside of each container.

B.	Nameplates:  Except as otherwise indicated for required approval labels and operating data, do not permanently attach or imprint manufacturer's or producer's nameplates or trademarks on exposed surfaces of products which will be exposed to view either in occupied spaces or on exterior of the work.

C.	Labels:  Locate required labels and stamps on a concealed surface or, where required for observation after installation, on an accessible surface which, in occupied spaces, is not conspicuous.

PART 3 - EXECUTION (Not Applicable)

END OF SECTION 016000