MASTERSPEC Short Form Copyright 2002, The American Institute of Architects (AIA)

SECTION 017823 - OPERATION AND MAINTENANCE DATA

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- GENERAL

      - SUMMARY

        - This Section includes administrative and procedural requirements for preparing operation and maintenance manuals, including the following:

Adjust list below to suit Project.

          - Operation manuals for systems, subsystems, and equipment.

          - Maintenance manuals for the care and maintenance of products, materials, and finishes.

        - See Divisions 2 through 33 Sections for specific operation and maintenance manual requirements for the Work in those Sections.

        - Organize Manuals into suitable volumes of manageable size, as approved by the Government Representative.

      - SUBMITTALS

        - Manual:  Submit PDF copies of each manual in final form at least 15 days before final inspection.  The Government Representative will return copy with comments within 15 days after final inspection.

          - Correct or modify each manual to comply with the Government Representative’s comments.  Submit PDFs of each corrected manual within 15 days of receipt of Government Representative’s comments.

          - After acceptance of the manual submit a CD of the manual to the Government, clearly identifying the contents of the CD.

- PRODUCTS

      - MANUALS, GENERAL

        - Organization:  Unless otherwise indicated, organize each manual into a separate section for each system and subsystem, and a separate section for each piece of equipment not part of a system.  Each manual shall contain a title page, table of contents, and manual contents.

        - Title Page:    Include the following information:

Revise list below to suit Project.

          - Subject matter included in manual.

          - Name and address of Project/Agency.

          - Name and address of Contracting Officer.

          - Date of submittal.

          - Name, address, and telephone number of Contractor.

          - Name and address of Architect/Engineer.

          - Cross-reference to related systems in other operation and maintenance manuals.

        - Table of Contents:  List each product included in manual, identified by product name, indexed to the content of the volume, and cross-referenced to Specification Section number in Project Manual.

        - Manual Contents:  Organize into sets of manageable size.  Arrange contents alphabetically by system, subsystem, and equipment.  If possible, assemble instructions for subsystems, equipment, and components of one system in a single PDF.

      - OPERATION MANUALS

In this Article, include information needed for daily operations and management of systems and equipment.

        - Content:  In addition to requirements in this Section, include operation data required in individual Specification Sections and equipment descriptions, operating standards, operating procedures, operating logs, wiring and control diagrams, and license requirements.

        - Descriptions:  Include the following:

Revise list below to suit Project.

          - Product name and model number.

          - Manufacturer's name.

          - Equipment identification with serial number of each component.

          - Equipment function.

          - Operating characteristics.

          - Limiting conditions.

          - Performance curves.

          - Engineering data and tests.

          - Complete nomenclature and number of replacement parts.

        - Operating Procedures:  Include start-up, break-in, and control procedures; stopping and normal shutdown instructions; routine, normal, seasonal, and weekend operating instructions; and required sequences for electric or electronic systems.

        - Systems and Equipment Controls:  Describe the sequence of operation, and diagram controls as installed.

      - PRODUCT MAINTENANCE MANUAL

        - Content:  Organize manual into a separate section for each product, material, and finish.  Include source information, product information, maintenance procedures, repair materials and sources, and warranties and bonds, as described below.

        - Source Information:  List each product included in manual, identified by product name and arranged to match manual's table of contents.  For each product, list name, address, and telephone number of Installer or supplier and maintenance service agent, and cross-reference Specification Section number and title in Project Manual.

        - Product Information:  Include the following, as applicable:

Revise list below to suit Project.

          - Product name and model number.

          - Manufacturer's name.

          - Color, pattern, and texture.

          - Material and chemical composition.

          - Reordering information for specially manufactured products.

        - Maintenance Procedures:  Include manufacturer's written recommendations and inspection procedures, types of cleaning agents, methods of cleaning, schedule for cleaning and maintenance, and repair instructions.

        - Repair Materials and Sources:  Include lists of materials and local sources of materials and related services.

        - Warranties and Bonds:  Include copies of warranties and bonds and lists of circumstances and conditions that would affect validity of warranties or bonds.

- EXECUTION

      - MANUAL PREPARATION

        - Product Maintenance Manual:  Assemble a complete set of maintenance data indicating care and maintenance of each product, material, and finish incorporated into the Work.

        - Operation and Maintenance Manuals:  Assemble a complete set of operation and maintenance data indicating operation and maintenance of each system, subsystem, and piece of equipment not part of a system.

        - Manufacturers' Data:  Where manuals contain manufacturers' standard printed data, include only sheets pertinent to product or component installed.  Mark each sheet to identify each product or component incorporated into the Work.  If data include more than one item in a tabular format, identify each item using appropriate references from the Contract Documents.  Identify data applicable to the Work and delete references to information not applicable.

  - INSTRUCTIONS TO MAINTENANCE PERSONNEL

- Where instructions to maintenance personnel are specified in other sections, furnish without additional expense to the Government, the services of competent instructors who will give full instruction in the care, adjustment, and operation of the systems and equipment to designated maintenance personnel

- Each instructor shall be familiar with all parts and systems on which he is to give instruction and shall be trained in operating theory as well as in practical operation and maintenance work.  Employ factory trained instructors wherever practical and available.

- Unless otherwise required or approved, give instruction during the regular work week after the equipment has been accepted and turned over to the Government for regular operation.  Where significant changes or modifications in equipment are made under terms of the guarantee, provide additional instruction as may be necessary to acquaint the operating personnel of the changes ort modifications.  Where more than four man-days (32 hours ) of instruction are specified, approximately half of the time shall be classroom instruction and the other half with the equipment or system.

- Utilize the maintenance manual for the system or equipment as a text for the instruction.  Instruction shall include a review of the maintenance manual.

- Upon completion, obtain written acknowledgement from the Contracting Officer that the required instruction was completed.

  - POSTED OPERATING INSTRUCTIONS

- A.	Post operating instructions approved by the Government Representative for each system and each principal piece of equipment for the use of operation and maintenance personnel.  Include wiring and control diagrams showing the complete layout of the entire system including equipment, piping and valves and control sequence, framed under glass or approved laminated plastic and posted where directed by the Government Representative.  Printed or engraved operating instructions for each principal piece of equipment including start-up, proper adjustment , operating, lubrication, shut-down, safety precautions, procedure in the event of equipment failure and any other necessary items of instruction recommended by the manufacturer of the unit shall be attached to or posted adjacent to the piece of equipment.  Operating instructions exposed to the weather shall be made of weather resisting materials or shall be suitably enclosed to be weather protected.  Operating instructions shall not fade when exposed to sunlight and shall be secured to prevent easy removal or peeling.

END OF SECTION 017823