Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 233713 - DIFFUSERS, REGISTERS, AND GRILLES

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- GENERAL

      - RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section Includes:

          - Fixed face registers and grilles.

          - Linear bar grilles.

      - SUBMITTALS

First three paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

        - Product Data:  For each type of product indicated, include the following:

          - Data Sheet:  Indicate materials of construction, finish, and mounting details; and performance data including throw and drop, static-pressure drop, and noise ratings.

          - Diffuser, Register, and Grille Schedule:  Indicate drawing designation, room location, quantity, model number, size, and accessories furnished.

- PRODUCTS

Descriptions of diffusers, registers, and grilles include required attributes that define air outlets and inlets.  Each description must be edited to include a drawing designation.  If there is more than one type of outlet or inlet for a particular description, copy the paragraph for each type required and edit each copy to define each required type.  Assign each type a different drawing designation.

      - REGISTERS AND GRILLES

Copy paragraphs below and re-edit for each product.

Insert number to complete drawing designation for each product required.  Use these designations on Drawings to identify each product.

        - Fixed Face Register:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

          - Basis-of-Design Product:  Subject to compliance with requirements, provide product indicated on Drawings or comparable product by one of the following:

            - A-J Manufacturing Co., Inc.

            - Anemostat Products; a Mestek company.

            - Carnes.

            - Dayus Register & Grille Inc.

            - Hart & Cooley Inc.

            - Krueger.

            - Nailor Industries Inc.

            - Price Industries.

            - Titus.

            - Tuttle & Bailey.

          - Material:  Aluminum.

          - Finish:  Baked enamel, color selected by Architect.

          - Face Arrangement:  ¾” spaced blades.

          - Core Construction:  Integral.

          - Frame:  1-1/4 inches wide.

Retain first subparagraph below if mounting frame is required.

          - Mounting:  Countersunk screw.

          - Damper Type:  Adjustable opposed blade.

        - Fixed Face Grille:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

          - Basis-of-Design Product:  Subject to compliance with requirements, provide product indicated on Drawings or comparable product by one of the following:

            - A-J Manufacturing Co., Inc.

            - Anemostat Products; a Mestek company.

            - Carnes.

            - Dayus Register & Grille Inc.

            - Hart & Cooley Inc.

            - Krueger.

            - Nailor Industries Inc.

            - Price Industries.

            - Titus.

            - Tuttle & Bailey.

          - Material:  Aluminum.

          - Finish:  Baked enamel, color selected by Architect.

          - Face Arrangement:  blades on ¾” centers.

          - Core Construction:  Integral.

          - Frame:  1-1/4 inches wide.

Retain first subparagraph below if mounting frame is required.

          - Mounting:  Countersunk screw.

      - SOURCE QUALITY CONTROL

        - Verification of Performance:  Rate diffusers, registers, and grilles according to ASHRAE 70, "Method of Testing for Rating the Performance of Air Outlets and Inlets."

- EXECUTION

      - EXAMINATION

        - Examine areas where diffusers, registers, and grilles are to be installed for compliance with requirements for installation tolerances and other conditions affecting performance of equipment.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

      - INSTALLATION

        - Install registers, and grilles level and plumb.

        - Ceiling-Mounted Outlets and Inlets:  Drawings indicate general arrangement of ducts, fittings, and accessories.  Air outlet and inlet locations have been indicated to achieve design requirements for air volume, noise criteria, airflow pattern, throw, and pressure drop.  Make final locations where indicated, as much as practical.  For units installed in lay-in ceiling panels, locate units in the center of panel.  Where architectural features or other items conflict with installation, notify Architect for a determination of final location.

        - Install diffusers, registers, and grilles with airtight connections to ducts and to allow service and maintenance of dampers.

      - ADJUSTING

        - After installation, adjust diffusers, registers, and grilles to air patterns indicated, or as directed, before starting air balancing.

END OF SECTION 233713