**Installation Details – Roof**

**Channel Letters on Wall Surface**

Mounting of Channel Letters

The Channel Letter on the vertical surfaces will be mounted by direct bolting through the inside mating surface of the cabinet and exterior building with 5/16-18 bolts and fender washers.

