41 Hutchins Drive:  Building Addition for Woodard & Curran;  Conditions approved march 14, 2006

  - That the applicant receives the required permits from the MDEP prior to the issuance of a building permit or any site work alterations.

  - That the applicant shall contribute $5000 to an account that would be used to fund traffic improvements to the intersection at Hutchins Drive / Congress Street. If part or all of the contribution remains unused, or is determined not to be required, within ten years after the issuance of the Certificate of Occupancy, the unexpended portion of the contribution funds shall be returned to the applicant.

  - The applicant shall submit a Snow Removal and Maintenance Plan for the 20 foot wide roadway adjacent to the new building to the satisfaction of the Traffic Engineer and the Development Review Coordinator (Jim Seymour of Sebago Technics). The Snow Removal and Maintenance Plan to show how this access will be maintained and kept free of obstructions to ensure fire access if needed.

  - The applicant shall adhere to the Inspection and Maintenance Procedures set out in the Stormwater Management Addendum submitted for the subsurface detention structure and vegetated swale, and the Erosion and Sedimentation Control Plan (including Plan C200) submitted February 23, 2006.

  - The applicant shall present the sidewalk, drainage and sewer easements for final review and approval by Corporation Counsel, including evidence of an appropriate easement in relation to the water main blow-off valve discharge pipe.

  - The applicant shall submit details of the sidewalk extension and sewer diversion, which must be in accordance with the City Standards and directly reviewed and approved by Public Works.

  - The applicant to adhere to the submitted Geotechnical Report during construction and involve a Geotechnical Engineer at regular intervals during the construction of foundations and retaining walls;  also to amend the plans to reference the construction measures required for such foundation and retaining wall construction.  The final retaining wall design shall be designed by a professional engineer and reviewed and approved by the code enforcement officer and Development Review Coordinator.

  - The applicant shall discuss and agree an alternative treatment of the central area of the turning circle at the main entrance with the City Arborist.

  - That in view of the sensitive nature of this site and its proximity to wetland areas, as a condition of this approval there shall be no further expansion or development of parking areas or commercial space outside of the existing building footprint or impervious surface areas approved herein.

  - [another one re Purchase and Sale Agreement]

[two waivers granted-  wording to be added]

[Original approval letter dated March 28, 2006 and referring to PB approvals of March 14, 2006 was accidentally deleted but these are correct conditions]