As sent

July 26, 2006

Stephen B. Mohr, ASLA

Mohr & Seredin Landscape Architects, Inc.

18 Pleasant Street

Portland, ME  04101

Re:  Minor Site Plan Review:     	34 Hutchins Drive (Lot 9 of Stroudwater Estate)

Lot 238A-B-3

Cianchette Family LLC

Application # 2006-0131

Dear Mr. Mohr,

I am writing to confirm receipt of the Site Plan application and cover letter dated July 10, 2006 regarding the above-referenced site.

I note that the project has been started on site prior to receiving the appropriate approvals and permits.  Please advise the applicant that this is a contravention of the City Ordinance14-523 and that all work and use of the site must stop pending the determination of this application.

I understand some erosion control measures have been carried out but these may not be adequate to protect the downstream areas during the permitting process and further stabilization work will be required, as outlined below.

Before we are able to complete a review of this project you need to be aware that the application submitted is incomplete and there are a number of areas where we require further information, as follows:

- A Boundary Survey should be submitted as it is considered an essential submission and is required of all applicants regardless of the scale of the project. The Boundary Survey should update the topographic information and address the deficiencies noted in the comments from the City’s Engineering Peer Reviewer (attached, see para 2).

- Please clarify Right Title and Interest for this property, as the submitted documents appear to relate to a different property.  What is the connection to Sunview Associates (who are identified on the plans)?

- The site is located over the City’s sewer main and easement across this site and we would request additional information as to what impact the proposals will have on this infrastructure.

- Please submit a plan showing an accurate delineation of the wetlands on and within 100 feet of the site, as the impact on wetlands is an important issue at this location (see below).

- Please provide further information as to what the use of the site will be in the short and long terms-  who will be using it and for what purpose, what type and how many vehicles will be using it (traffic generation);  how long will it be in use etc. This information will help determine whether the proposal meets zoning requirements.

- Please submit a Landscape Plan in accordance with the City’s Ordinance standards as set out in Section 14-526 (25) (copy enclosed) which states clearly that landscaping and buffering is required within industrial zones.  Please note that tree removal and grade changes should be minimized and reinstatement planting may be required.

- Please clarify whether any lighting will be incorporated into the proposals?

At this stage we have the following preliminary comments; further comments are likely once we have received the information outlined above.

Wetlands

As you may be aware, the impact of the building addition at 41 Hutchins Drive on the wetlands (brook) running through the northern part of that site was of concern both to the City and to the MDEP.  I enclose the MDEP Permit for that site as well as the Planning Approval letter for information.

The unnamed brook that was the main concern across the road is also adjacent (north) to the gravel parking and construction yard at 34 Hutchins Drive and therefore we have concerns as to the impact of the cutting, grading, gravel surfacing, stormwater runoff flows and quality on this wetland area.  We request that a wetlands scientist determine the delineation of the wetlands and status of the streams on/adjacent to this site, as detailed in the attached memorandum from the Engineering Peer Reviewer.

We would request you make appropriate application(s) to the MDEP/ACOE regarding the stream/wetlands and provide to us a list of the permits and approvals required for this project, along with copies of the relevant applications and determinations. We would also request a copy of the MDEP order #L-010223-39-F-M dated March 19, 1986, as referred to in your letter.

We request the early submission and implementation of a Temporary Stabilization Plan to address immediate concerns regarding the erosion and sedimentation impacts of the site in its current condition on the wetlands/stream areas nearby and downstream.

Sidewalks

Ordinance 25 (Public Works) requires the installation of a sidewalk and granite curbs along the frontage of the site.  I attach the relevant provisions of the Ordinance. A waiver to this requirement may be requested by the applicant, but must be based on the sidewalk and granite curb waiver requirements which are also attached.

Hutchins Drive/Congress Street Intersection Improvements

The City is requiring new developments that create additional traffic movements at this intersection to contribute financially to its improvement.  If the proposal for 34 Hutchins Drive generates additional traffic a contribution may be requested.

If you have any questions, please contact Jean Fraser, the Planner handling this application, on (207) 874 8728.

Sincerely

Alexander Jaegerman

Planning Division Director

Attachments: 	i.	City of Portland Ordinance Section 14-526 (25) re Landscaping

and Buffering

- MDEP Order #L-10223-39-Q-B dated April 3, 2006 re lots 15 and 16 Stroudwater Estate (41 Hutchins Drive, opposite the subject site)

- City of Portland Planning Board Approval Letter for 41 Hutchins Drive (dated March 28, 2006)

- Memorandum of July 24, 2006 from Alton Palmer, PE of Gorrill-Palmer Consulting Engineers, Engineering Peer Reviewer for the City

- City of Portland Sidewalk and Curbing Ordinances

cc.	Lee D. Urban, Planning and Development Department Director

Alexander Jaegerman, Planning Division Director

Sarah Hopkins, Development Review Services Manager

Jay Reynolds, Development Review Coordinator

Al Palmer, Gorrill-Palmer Consulting Engineers, Engineering Peer Reviewer (for City)

Marge Schmuckal, Zoning Administrator

Inspections

Traffic Division

Eric Labelle, City Engineer

Jeff Tarling, City Arborist

Penny Littell, Associate Corporation Counsel

Cianchette Family LLC (applicant)