DRAFT as cleared by Sarah and Penny

July 24, 2006

Stephen B, Mohr, ASLA

Mohr & Seredin Landscape Architects, Inc.

18 Pleaseant Street

Portland, ME  04101

Re:  Minor Site Plan Review:     	34 Hutchins Drive (Lot 9 of Stroudwater Estate)

Lot 238A-B-3, 239A-A-5

Cianchette Family LLC

Application # 2006-0131

Dear Mr. Mohr,

I am writing to confirm receipt of your Site Plan application and cover letter dated July 10, 2006.

I note that the project has been started on site prior to receiving the appropriate approvals and permits.  Please advise the applicant that this is a contravention of the City Ordinance14-523 and that all work and use of the site must stop pending the determination of this application.

Before we are able to complete a review of this project you need to be aware that the application submitted is incomplete and there are a number of areas where we require further information, as follows:

- A Boundary Survey should be submitted as it is considered an essential submission and is required of all applicants regardless of the scale of the project.

- Please submit a plan showing an accurate delineation of the wetlands on and within 100 feet of the site, as the impact on wetlands is an important issue at this location (see below).

- Please provide further information as to what the use of the site will be in the short and long terms-  who will be using it and for what purpose, what type and how many vehicles will be using it (traffic generation);  how long will it be in use etc. This information will help determine whether the proposal meets zoning requirements.

- Please submit a Landscape Plan in accordance with the City’s Ordinance standards as set out in Section 14-526 (25) (copy enclosed) which states clearly that landscaping and buffering is required within industrial zones.  Please note that tree removal and grade changes should be minimized and reinstatement planting may be required.

- Please clarify whether any lighting will be incorporated into the proposals?

At this stage we have the following preliminary comments; further comments are likely once we have received the information outlined above.

Wetlands

As you may be aware, the impact of the building addition at 41 Hutchins Drive on the wetlands (brook) running through the northern part of that site was of concern both to the city and to the MDEP.  I enclose the MDEP Permit for that site as well as the Planning Approval letter.

The unnamed brook that was the main concern across the road is also adjacent (north) to the gravel parking and construction yard at 34 Hutchins Drive and therefore we have concerns as to the impact of the cutting, grading, gravel surfacing, stormwater runoff flows and quality on this wetland areas.  We would request you make appropriate application to the MDEP regarding the brook/wetlands and provide to us a copy of their determination in respect of this issue.

Sidewalks

Ordinance 25 (Public Works) requires the installation of a sidewalk and granite curbs along the frontage of the site.  I attach the relevant provisions of the Ordinance. A waiver to this requirement may be requested by the applicant, but must be based on the sidewalk and granite curb waiver requirements which are also attached.

Hutchins Drive/Congress Street Intersection Improvements

The City is requiring new developments that create additional traffic movements at this intersection to contribute financially to its upgrading.  If the proposal for 34 Hutchins Drive generates additional traffic a contribution may be requested.

If you have any questions, please do not hesitate to contact me on (207) 874 8728.

Sincerely

Jean Fraser

Planner

cc.	Lee D. Urban, Planning and Development Department Director

Alexander Jaegerman, Planning Division Director

Sarah Hopkins, Development Review Services Manager

Jay Reynolds, Development Review Coordinator

Marge Schmuckal, Zoning Administrator

Inspections

Traffic Division

Eric Labelle, City Engineer

Jeff Tarling, City Arborist

Penny Littell, Associate Corporation Counsel