From: 	Kamlesh Patel <kpatel@maine.rr.com>
To:	"DMCPHERSON@portlandmaine.gov" <DMCPHERSON@portlandmaine.gov>
Date: 	2/15/2012 3:42 PM
Subject: 	Fwd: 1210 Brighton Plans Submitted to City
Attachments:	11-094 SRG Sketch SK-1 Revised 14Feb2012.pdf

Sent from my iPhone

Begin forwarded message:

> From: Kamlesh Patel <kopatel@hotmail.com>
> Date: February 15, 2012 2:40:41 PM EST
> To: kamelsh patel <kpatel@maine.rr.com>
> Subject: RE: 1210 Brighton Plans Submitted to City
> 
> Her is the modifications to designed as attachment.
> we do have 3/4" wood as plate.
>  
> thank you
> Kamlesh Patel
>  
> Subject: Fwd: 1210 Brighton Plans Submitted to City
> From: kpatel@maine.rr.com
> Date: Wed, 15 Feb 2012 14:19:43 ‑0500
> To: kopatel@hotmail.com
> 
> 
> 
> Sent from my iPhone
> 
> Begin forwarded message:
> 
> From: "Donald McPherson" <DMCPHERSON@portlandmaine.gov>
> Date: February 14, 2012 12:41:40 PM EST
> To: <kpatel@maine.rr.com>
> Cc: "Jeanie Bourke" <JMB@portlandmaine.gov>
> Subject: 1210 Brighton Plans Submitted to City
> 
> Kamlesh,
>  
> Attached are both sets of plans. Page 8 of 101124 is the original floor plan. This is what we need for the revised plan.
>  
> The pictures that I took on 11‑29‑2011 showed a flat piece of metal over the doors. Your pictures show the 'L' brackets but I can not see the "Cont. 1/4" x 11" plate stop within 1/2" from each face of opening each end". Please have your engineer verify that the modifications were installed as designed.
>  
> Thank you,
> Don
>  
>  
> Don McPherson
> Code Enforcement Officer
> 
> City of Portland
> Planning and Urban Development Department
> Inspection Services Division
> 389 Congress St. Rm 315
> Portland, ME 04101
> Office: 207.874.8705
> Support Staff: 207.874.8701
> DMcPherson@portlandmaine.gov
> 
> 
>