November 19, 2009

| Marc Rochon Mastoran Corporation 822 Lexington Street 2nd floor Waltham, MA. 02452 |  |
| --- | --- |

RE:	Burger King. 132 Riverside Street

Application ID #: 2008-0053

CBL: 267 A007001

Dear Mr. Rochon:

Thank you for submitting revisions to the approved exterior lighting plan for Burger King Restaurant at 132 Riverside Avenue.  It is our understanding that proposed deviations from the approved plan, as shown on the submitted plan, dated November 3, 2009, include alternative pole mounted lights than what was approved by the Planning Board, and additional building mounted lighting.   The location of the pole mounted fixtures and the proposed pole height of 16 ft remains the same.   All proposed fixtures both in the parking lot and on the building are full-cutoff.

The changes to the exterior lighting plan meet the standards of Section XV of the City Technical and Design Standards in terms of minimum illumination levels, fixture height and wattage.   The proposed increase in average and maximum illumination levels and light trespass at the property line exceed City standards.  According to the submitted photometric plan, however, the increase in illumination levels would not result in levels incompatible with abutting commercial uses.   Areas of the site where illumination at the property line exceeds 0.1 foot candle are not locations that will affect private abutters.  Thus, the Planning Authority has granted a waiver from the standards for average and maximum illumination levels and for maximum illumination at the property line, as defined in Section XV of the Technical and Design Standards.

The proposed changes represent a de minimis amendment to the approved site plan.

If you have any questions, please contact me at 874-8901 or by email at mpc@portlandmaine.gov

Sincerely,

Molly Casto, Senior Planner

cc: 	Alexander Jaegerman, Planning Division Director

Barbara Barhydt, Development Review Services Manager

Phil DiPierro, Development Review Coordinator

Jonothan Rioux, Inspections Division