MEMORANDUM

To:	FILE

From:	Capt Greg Cass	Dept:	Fire

Subject:	Application ID: 2008-0053

Date:

Unable to determine hydrant locations from utility plan.

This project may require the installation of an additional fir hydrant.