## 27 June 2007

Mr. Lee Jay Feldman,

Director of Planning,

Sebago Technics, Inc.,

P. O. Box 1339,

Westbrook, Maine 04098-1339

# RE: The Capacity to Handle Wastewater Flows, from the Proposed

# University Credit Union Project, at 1071 Brighton Avenue.

Dear Mr. Feldman:

The existing twelve-inch diameter vitrified clay sewer pipe located in Brighton Avenue has adequate capacity to transport, while The Portland Water District sewage treatment facilities, located off Marginal Way, have adequate capacity to treat the total decrease in wastewater flows of (281) GPD, from the proposed building project.

Anticipated Wastewater Flows from the Proposed Building Project:

12 Proposed Employees @ 15 GPD/Employee				=  180 GPD

12 Proposed Employees @ 15 GPD/Kitchen Privileges			=  180 GPD

Less Previous Flows from Former Proprietors				= (641) GPD

Total Proposed Decrease in Wastewater Flows for this Project 		= (281) GPD

The City combined sewer overflow (C.S.O.) abatement consent agreement (with the U.S.E.P.A., and with the Maine D.E.P.) requires C.S.O. abatement, as well as storm water mitigation, in order to offset any increase in sanitary flows, from all projects.  If the City can be of further assistance, please call 874-8832.

Sincerely,

CITY OF PORTLAND

Frank J Brancely, B.A., M.A.

Senior Engineering Technician

FJB

cc:	Alexander Q. Jaegerman, Director, Planning Division, Department of Planning, and Urban Development, City of Portland

Phil Dipierro, Development Review Services Manager, Department of Planning, and Urban Development, City of Portland

Shukria Wiar, Planner, Department of Planning, and Urban Development, City of Portland

Michael Farmer, P.E., Project Engineer, City of Portland

Bradley A. Roland, P.E., Environmental Projects Engineer, City of Portland

Stephen K. Harris, Assistant Engineer, City of Portland

Jane Ward, Administrative Assistant, City of Portland

Nick McKenney, Project Manager, Brand Partners

Desk file