## Sheet1
|  | Peak Flow Based on Fixture Count | [5 empty] | Customer only needs to complete the cells highlighted in blue
Adapted from 2009 Maine State Internal Plumbing Code
| Customer | Pinetree Recovery Center
| Street Address | 17 Bishop Street
| City | Portland Maine
|  |  | Fixture Value |  | No. of |  | Fixture
Fixture |  |  | 60 psi |  | Fixtures |  | Value
Bathtub |  |  | 4 | x | 0 | = | 0
Bidet |  |  | 1 | x | 0 | = | 0
Dental Unit |  |  | 1 | x | 0 | = | 0
Drinking Fountain - Public |  |  | 0.5 | x | 2 | = | 1
Kitchen Sink |  |  | 1.5 | x | 1 | = | 1.5
Bathroom Sink |  |  | 1 | x | 0 | = | 0
Showerhead (Shower Only) |  |  | 2 | x | 2 | = | 4
Service Sink |  |  | 3 | x | 0 | = | 0
Toilet | -Flushometer(high pressure) |  | 5 | x | 0 | = | 0
| -Tank Type |  | 2.5 | x | 1 | = | 2.5
Urinal | -Flushometer Valve |  | 5 | x | 1 | = | 5
| -Tank Type |  | 2 | x | 0 | = | 0
Wash Sink (Each Set of Faucets) |  |  | 2 | x | 0 | = | 0
Dishwasher |  |  | 1.5 | x | 1 | = | 1.5
Washing Machine |  |  | 4 | x | 0 | = | 0
Hose (outdoor spigot) |  | <3/4 in. | 2.5 | x | 0 | = | 0
Combined Fixture Value Total | [6 empty] | 15.5
Customer Peak Demand From Fig. 4-2 or 4-3
Pressure Factor From Table 4-1
Irrigation(Yes/No)? |  | No
If yes, gpm required by
irrigation designer:
Total Fixed Demand (Peak Flow) | [6 empty] | 0 | gpm