From: 	William Clark
To:	Helen Donaldson
CC:	David Margolis-Pineo;  Jennifer Thompson
Date: 	6/1/2015 4:11 PM
Subject: 	Re: Fwd: Bishop Street Draft Plat plan
Attachments:	Bishop St No 72 Subdivision Plat Plan 5 22 2015 Survey Review 6 01 2015.PDF; Bishop St No 72 Boundary and Topo Survey Rev 1 20 2015 Survey Review 5 12 2015.PDF

Hi Nell,
 
I met with Bob Metcalf of Mitchell Associates last week and went over the Boundary and Topographic Survey plan (attached).
 
He agreed to show the proposed 30 foot storm drain easement on the plans.  That has not been corrected.
 
In addition, the same elevation datum problem exists on the Subdivision Plat Plan dated 5 22 2015 which you sent me this morning.  They state they used NAVD88 which is not the official City datum.  Existing Grades/Topo, Proposed grades, and structures need to be corrected to the Official City of Portland Datum prior to approval.
 
Thanks,
 
Bill

>>> Helen Donaldson June 1, 2015 8:50 AM >>>
Bill and Jen, 
 
This is a draft subdivision plat for a 30-unit Avesta project, all apartments, out on Bishop Street.  Could you take a look and let me know your comments when you have a chance?
 
Thanks, 
Nell