Planning & Urban Development Department

Gregory A. Mitchell, Acting Director

Planning Division

Alexander Jaegerman, Director

October 31, 2011

Poulin Property Holdings LLC

c/o Marc Poulin

Poulin Financial Services, LLC, PA

171 Warren Ave

Portland, ME 04103

and

c/o Marc Poulin

276 Canco Road

Portland, ME  04103

And e-mail to:

Marc M. Poulin, CPA

Marc@PoulinFinancial.com

RE:  171 Warren Avenue

Project ID:  #10-79900021

Dear Mr. Poulin:

On July 15th, 2011 a site plan approval was issued for changes to your approved site plan at 171 Warren Avenue based on a sketch and description submitted July 12, 2011.

On September 29th, 2011 Phil diPierro advised you that the lights that have been installed do not meet the City standards and do not comply with the conditions of the original site plan approval and subsequently you were sent a copy of the City’s Lighting Standards. Jean Fraser has visited the site at night and confirmed that the installed lights, particularly on the side facing Hemingway Street, are not acceptable.

On October 7th, 2011 you submitted final plans to reflect the as-built development at this site.  These plans confirm that the minor changes outlined in July, 2011 also included some substantial changes that were not mentioned in the earlier correspondence nor shown on the sketch plan:  an increase in parking from the permitted 9 spaces to 23 spaces; reduced parking aisle widths;  and the placement of boulders within the City’s right-of-way.  These changes do not meet the review standards of the site plan ordinance, and in particular we cannot approve the location of boulders in the right- of -way.

After consideration of your recent e-mails and previous submissions I am prepared to recommend the issuance of a final Certificate of Occupation subject to the following changes on- site:

- Relocate the boulders so that all are within your property-  an alternative is for you to explore the possibility of obtaining  a revocable license through the Legal Department as such a license may allow the boulders to remain in the ROW until such time as it is developed as a street; and

- Replace or modify the two light fixtures near the corners of the new addition facing Hemingway Street, so that the lights are directed downward and are full cut-off  so that “lenses, refractors or lamp sources do not extend below the surface of the fixture housing and no direct light shall be directed at or above the horizontal plane” (Para.12.2.6 of City of Portland Technical Standards, Section 12 – Site Lighting); and

- Remove the striping for the two (2) 90 degree parking spaces located opposite the rip rap area, facing Hemingway Street and abutting the southern-most parallel space near Hemingway Street; and

- Plant two (2) trees (from the City’s recommended tree list, copy attached) in the “bump out” located at the northeast corner of the site; and

- Show these revisions and add the final grades on the final “as built” drawings and submit as 5 scaled paper sets, a pdf (via e-mail), and a CD or DVD containing the plan in AutoCAD format (*,dwg), release AutoCAD 2005 or greater.

If you would like to meet with staff to clarify these requirements, please contact Jean Fraser at 874-8728 or jf@portlandmaine.gov

Sincerely,

Barbara Barhydt

Development Review Services Manager

# Electronic Distribution:

Alexander Jaegerman, Planning Division Director

Jean Fraser, Planner

Philip DiPierro, Development Review Coordinator

Marge Schmuckal, Zoning Administrator

Tammy Munson, Inspections Division Director

Gayle Guertin, Inspections Division

Lannie Dobson, Inspections Division

Michael Bobinsky, Public Services Director

Kathi Earley, Public Services

Bill Clark, Public Services

David Margolis-Pineo, Deputy City Engineer

Jane Ward, Public Services

Chris Pirone, Fire Department

Jeff Tarling, City Arborist

Tom Errico, TY Lin

David Senus, Woodard & Curran

Assessor's Office

Approval Letter File

Hard Copy:  Project File