August 11, 2010

To:	Jean Fraser

Barbara Barhydt

From:	David Margolis-Pineo

Re:	Review Comments – Public Services

171 Warren Ave

The Department of Public Services has the following comments:

- The applicant is required to install an asphalt sidewalk along the frontage of Warren Ave.  Detail attached.

- The applicant is requested to have a licensed surveyor install the two rear property pins in the vacated Katahdin St.

- The applicant is requested to supply the tie distance to the angle point easterly of the site along the side line of Warren Ave.

- The applicant is requested to close the north easterly curb cut on Warren Ave.  Detail attached.

Public Services have no further comments at this time.