From: 	"Dan Goyette" <DGoyette@woodardcurran.com>
To:	"Jean Fraser" <JF@portlandmaine.gov>
Date: 	8/25/2010 4:23 PM
Subject: 	RE: 171 Warren - comments please

Jean,

I am all set with the project. 

Dan 

‑‑‑‑‑Original Message‑‑‑‑‑
From: Jean Fraser [mailto:JF@portlandmaine.gov] 
Sent: Wednesday, August 25, 2010 4:20 PM
To: Dan Goyette
Subject: 171 Warren ‑ comments please

Dan

These were your comments from 8.13.2010 (below).

I sent you the revised plans by pdf on Friday 8.20.2010 with a cover
e‑mail (copy of the plans attached) (and probably should have given you
a paper set this morning but you hadn't requested them) but I think it
is clear. 

They have increased the pervious surface in the vicinity of the tree
near the parking lot to afford more grassed area over the roots of the
tree so the impervious surface calcs have changed (see WORD doc which is
their response with further info).

They have provided a detail of the sidewalk.

Could you please send a sign off urgently re the revised plans‑  thanks

Jean

from DG 8.13.2010:

Comments

*	The 720 square foot office addition, the 278 square foot paved
walkway, and the 316 square feet of planting area result in a proposed
impervious area net change of 682 square feet. A proposed impervious
area net change of 644 square feet was reported; this needs to be
clarified.
*	Sheet A1 of the Engineering Plans is not printed to the scale
specified on the drawing.
*	A detail has not been provided for a cross‑section of the
proposed bituminous sidewalk.