From: 	David Margolis-Pineo
To:	Jean Fraser
CC:	DEVELOPMENT REVIEW GROUP 
Date: 	7/22/2011 4:59 PM
Subject: 	Review Comments:  McFarland Spring Corporation – 280 Warren Ave

July 22, 2011
 
TO:                  Jean Fraser
                        Barbara Barhydt                       
FROM:            David Margolis-Pineo
                        Dept. of Public Services
RE:                   Review Comments:  McFarland Spring Corporation – 280 Warren Ave

The staff from the Department of Public Services has the following comments.The site plan survey is incomplete since the property corners have not been set.  All property corners shall be set before a building permit is issued.

 We have no further questions at this time